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Wiltshire Council Planning Consultation Response

ECOLOGY
      	
	Officer name: 
	Patrick Olshansky
	

	Date:
	05/06//2025
	

	Application   No.:
	PL/2023/07495 & PL/2023/07459 & PL/2024/00078 & PL/2024/00079
	

	Proposal:
	PL/2023/07495 & PL/2023/07459 & PL/2024/00078 & PL/2024/00079
	

	Site Address:
	SUNTON GRANARY, FOLLY LANE WEST, LACOCK, CHIPPENHAM, SN15 2LP
	

	Case Officer:
	Georgina Wright
	



Farrier House (PL/2024/00078)

A sewage pump connects to the mains system along the A338. This is within land owned by the applicants and will serve the proposed scheme. This system is served by Collingbourne Ducis wastewater treatment works. No SuDS proposed on-site based on supporting information. Area input into calculator matches application form (0.14).

Staddle Stones Granary (PL/2023/07495 & PL/2023/07459 & PL/2024/00079)

Will connect to the mains sewer system. This system is served by Collingbourne Ducis wastewater treatment works. No SuDS proposed on-site based on supporting information. 

Area input into calculator does NOT match the application form (Calc = 0.13 / App = 0.17). 

When an area of 0.13 is entered into the calculator a value of 1.07 kg TP/yr is returned. 
When an area of 0.17 is entered into the calculator a value of 1.09 kg TP/yr is returned. 

Provided a justification is provided for the area figure input into the current submission of the calculator, the budget can be approved by Wiltshire Council. 

Otherwise, a value of 1.09 kg TP/yr is the figure that is approved. See calculation attached.


















Habitat Regulations Assessment: River Avon Special Area of Conservation (SAC) Hampshire Catchment

These developments fall within the catchment of the River Avon SAC and has potential to cause adverse effects alone or in combination with other developments through discharge of phosphorus in wastewater. Appropriate Assessment must be carried out by the relevant Competent Authority (the LPA) to determine the potential significant effects and the suitability of any measures proposed to avoid or mitigate those effects.    

The submitted nutrient calculations calculated the following for total phosphorus:

Farrier House: 1.08 kg TP/year

This budget has been approved by Wiltshire Council. 

Saddle Stones: see above.

This budget has been approved by Wiltshire Council

A Council-led scheme of phosphorus credits will be available for development which meets certain criteria at a fixed cost per kilogram of phosphorus, provided supply of mitigation is available. A completed Hampshire Avon Credit Screening Approval Certificate is required to apply for this scheme. The ecology section of this certificate has been completed by the Council’s ecology team for this application. This certificate can only be issued by the case officer if the application meets the two deliverability tests. Further details of the Council-led scheme, including eligibility criteria, current cost to purchase credits, and details of how to apply, is available on our website Phosphorus and nitrogen mitigation - Wiltshire Council. 

Farrier House
	Ecology officer approval  
  
Approval of Nutrient Budget  
	Document reviewed – Nutrient Calculator Farrier House
Pre 2030 budget -  1.08 kg TP/year 
Budget approved - Yes
Date -  05/06/2025



Saddle Stones
	Ecology officer approval  
  
Approval of Nutrient Budget  
	Document reviewed –  Nutrient Calculator Saddlestones
Pre 2030 budget – 1.07/1.09 kg TP/year 
Budget approved - Yes
Date -  05/06/2025



A strategic Appropriate Assessment (AA) has been prepared for qualifying planning applications for residential and non-residential development, within sewered and non-sewered areas of the River Avon SAC catchment. The AA reached a conclusion of no adverse effects on the integrity of the SAC or its qualifying features and has been endorsed by Natural England (NE) provided that the council’s mitigation strategy continues to be implemented.  

These comments assume that this application qualifies for and will be proceeding with the Council-led scheme.   

The mitigation fee and administration charge for the scheme can be paid by a section 111 agreement. It is also possible to pay the mitigation fee through a section 106 agreement or unilateral undertaking. 
NEXT STEPS: 

· The case officer will send you the credit screening approval certificate 
· Once you have received this you can apply directly via this form:  Development Application in the Hampshire Avon Catchment 
· You will then be emailed directly when credits are available (expected 2 weeks) 
· There is then the option of securing credits via a Section 111 form which will be sent to you. 

If the application does not qualify for the Council-led scheme, or the applicant decides not to proceed with the scheme, details of an alternative mitigation strategy must be submitted for review and the Council’s ecology team consulted. Any alternative mitigation scheme would be subject to a bespoke Appropriate Assessment. 

CONDITIONS (Not applicable at this stage as permission has been granted)

· River Avon Phosphorus Mitigation (Grampian Condition)  
· Water Efficiency in the River Avon (minor applications)  

INFORMATIVE  

· River Avon Phosphorus Mitigation  
· Non mains drainage (if applicable)  

Note:  If the applicant proceeds with an alternative mitigation scheme, including purchasing/acquiring credits through a third market plan, in order to discharge the Grampian Condition (as stated above) they will need to provide proof of credit allocation/proof of payment or the completed S111 form so that the payment can be taken as part of the discharge of condition process. 


Final sign off – all matters addressed: 

	Ecologist
	Date

	Patrick Olshansky
	05/06/2025
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