Supporting Statement for Revised Internal Layout – 97 Brown Street, Salisbury SP1 2BA
We have received full approval for our original plans (Ref: PL2025/04665). However, due to practical considerations, the previously approved layout is no longer suitable for our needs. We now propose to retain the existing bathroom on the middle floor and instead install a new ensuite within Bedroom 4.
Key Points of the Revised Proposal:
· Location: The ensuite will be created within Bedroom 4, which is the largest bedroom in the property.
· Existing Services: Hot, cold, and waste pipes are already present in Bedroom 4 due to a previously installed basin, minimizing the extent of new works required.
· Soil Pipe Installation: The only new service required is a soil pipe. This will be routed at ceiling height from the room below, ensuring that there is no penetration of the building’s internal or external fabric.
· No External Impact: There will be no changes to the external appearance of the property, and no new penetrations or pipework will be visible externally.
· Minimal Disruption: The works are fully internal, reversible, and will not affect the structural integrity or character of the building.
We believe this revised layout is the most practical solution and will have minimal impact on the property, while meeting our needs.
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