Hi Nina, 

I hope you had a nice break and happy new year.

A surcharge of 2.5 kN/m² has been applied for the car park retaining wall.

Kind regards,
Anna

Annelisa Nicholas | Address: Queenfield Farm, Lower Woodrow, Forest, Melksham, SN12 7RA | 


On 5 Jan 2026, at 15:29, Parker-Miles, Selina <Nina.Parker-Miles@wiltshire.gov.uk> wrote:

Good afternoon Anna
 
I have received the following response from the highways team, please see below.
 
‘The amendment to drain the wall is noted and is acceptable.

As noted previously, can the applicant confirm the surcharge [loading] applied to the wall’
 
Kind regards
Nina



