## Sheet1
3-5 New Street, Salisbury SP1 2PH
Planning Application for Material Change of Use
Nutrient Calculation Final Budget
Total nutrient budget calculations
Description of values generated | Values generated
Wastewater TP load (kg TP/year): | 0.02
Net land use TP change (kg TP/year): | 0
TP budget: | 0.02
TP budget + 20% buffer: | 0.024
Annual nutrient budget
The total annual phosphorus load to mitigate is (kg TP/yr): | 0.02
Not applicable
Not applicable | 0.11
nutrient budget
The total annual phosphorus load to mitigate is (kg TP/yr): | Not applicable
3-5 New Street, Salisbury SP1 2PH
Planning Application for Material Change of Use
Nutrient Calculation Water Infrastructure Information
Water infrastructure information
Description of required information | Data entry column - user inputs required
Date of first occupancy (dd/mm/yyyy): | 2026-04-01
Average occupancy rate (people/dwelling or people/unit): | 2.4
Water usage (litres/person/day): | 120
Development proposal (dwellings/units): | 1
Wastewater treatment works: | Salisbury (Petersfinger)
Current wastewater treatment works P permit (mg TP/litre): | 1
Not applicable | Not applicable
Not applicable | Not applicable
Final calculation of nutrient load from wastewater
Description of values generated | Values generated
Wastewater nutrient loading
Additional population (people): | 2.4
Wastewater by development (litres/day): | 288
Annual wastewater TP load (kg TP/yr): | 0.09
Not applicable
Not applicable | Not applicable
Not applicable
Not applicable | Not applicable