Sachbar
Salt lane
Winterbourne Gunner
Salisbury
SP4 6LW

Dear Sarah
DISCHARGE OF CONDITIONS APPLICATION: CONDITIONs 5,6,7 & 13
LAND ADJACENT TO ROSEWOOD SALT LANE, WINTERBOURNE GUNNER, SALISBURY, SP4 6LW
APPLICATION REF: PL/2025/04933
Further to the approval of application PL/2025/04933 for the construction of a self-build dwelling & garage I am pleased to enclose for your consideration an application to discharge details of the above conditions.
For Conditions 5 & 7 please find attached the Wessex Ecology Report for Biodiversity Mitigation & Enhancement Strategy

Condition 5

All lighting provided on site shall be in accordance with the appropriate
Environmental Zone standards set out by the Institute of Lighting Engineers in their
publication GN01:2021, ‘Guidance for the Reduction of Obtrusive Light’ (ILP,
2021), and Guidance note 08/18 “Bats and artificial lighting in the UK”, issued by
the Bat Conservation Trust and Institution of Lighting Professionals and will
demonstrate that bat habitat (trees, scrub and hedgerows) on the perimeter of the
site will remain below 1 lux.

REASON: In the interests of the amenities of the area and to minimize impacts on
biodiversity caused by light spillage to areas above and outside the development
site.

Condition 7
Prior to the commencement of any works, including vegetation removal and demolition, details of the number, design and locations of nesting opportunities for birds and hedgehogs shall be submitted to the local authority for approval. The approved details shall be implemented before occupation of the final works.
REASON: To provide mitigation /enhancement for biodiversity
For Condition 6 please find attached Water calculations carried out by Atspace

Condition 6
The overnight development hereby approved shall be designed to ensure it does
not exceed 110 litres per person per day water consumption levels (which includes
external water usage).

REASON: To ensure compliance with the prevailing mitigation strategy for nutrient
neutrality in the water catchment within which this development is located.

For Condition 13 please find attached Water Run off plan and covering letter

Condition 13
No development shall commence on site until a scheme for the discharge of surface water from the site (including surface water from the access/driveway), incorporating sustainable drainage details, has been submitted to and approved inwriting by the Local Planning Authority. The development shall not be first occupied until surface water drainage has been constructed in accordance with the approved scheme.

REASON: The matter is required to be agreed with the Local Planning Authority before development commences in order that the development is undertaken in an acceptable manner, to ensure that the development can be adequately drained.
