LAND ADJACENT TO ROSEWOOD SALT LANE WINTERBOURNE GUNNER SALISBURY SP4 6LW

PLANNING APPLICATION REF: PL/2025/04933

WATER RUNOFF COVERING LETTER

DISCHARGE OF CONDITIONS APPLICATION: CONDITION 13

At present the land has been used for Caravan Storage/Agricultural and therefore no provisions for discharge of water/water run-off

The new application drainage plan shows siting of soakaways and the use of underground Attenuation Cells.

The driveway will be constructed of mainly gravel to allow water penetration along with installation of drainage channels across the main entrance.