APPLICATION FOR THE DISCHARGE OF A PLANNING CONDITION
CASE OFFICER REPORT
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	APPLICATION REFERENCE:
	PL/2025/09721

	APPLICATION TYPE:
	DISCHARGE OF CONDITION 

	SITE ADDRESS:
	Galteemore Farm, Beckhampton, Marlborough, SN8 1FE

	PROPOSAL:
	Discharge of condition Condition item 3. i - v. inclusive joinery, flues, background and mechanical ventilation, soil/vent pipes, repairs, internal finishes, & materials of planning application PL/2024/09812 (Internal and external works associated with the conversion of redundant agricultural building (Building E) to 4 No. holiday-let units; and internal and external works to the existing store (Block Q) to form an event / social space).



	PROPOSAL

This report has been prepared to support the application for the discharge of conditions attached to the planning permission granted for the development at Galteemore Farm, Beckhampton, Marlborough, SN8 1FE. The planning permission was granted on 22 May 2025 under reference number PL/2024/09812. This application seeks to discharge the following condition(s): 



	Condition 3 (Material, Joinery, and Design Details):
Notwithstanding the approved drawings, no works shall commence on site until details of the following have been submitted to and approved in writing by the Local Planning Authority:
 
i. Large scale details of all external joinery including metal-framed glazing (1:5 elevation, 1:2 section) including vertical and horizontal cross-sections through openings to show the positions of joinery within openings, depth of reveal, heads, sills and lintels;

ii. Full details of external flues, background and mechanical ventilation, soil/vent pipes and their exits to the open air;
 
iii. A full schedule and specification of repairs to the buildings;
 
iv. a full schedule and specification of internal finishes to walls, ceilings and floors; to include details of: a. floor construction and finish; b. internal wall finishes and drylining system
 
v. Full details and samples of external materials; to include details of the corrugated metal and all new external materials.
 
The works shall be carried out in accordance with the approved details.
 
REASON: The application contained insufficient information to enable this matter to be considered prior to granting planning permission and the matter is required to be agreed with the Local Planning Authority before development commences in order that the development is undertaken in an acceptable manner, in the interests of preserving the character and appearance of the listed building and its setting.




	This report outlines how the conditions have been satisfied and includes the necessary documentation to evidence compliance.



	CONSULTATION

Conservation (Wiltshire Council) – No Objection



	ASSESSMENT

Condition 3 (Material, Joinery, and Design Details)

Submitted Details:
· Proposed Large Scale Details – Windows and Doors (2305 AP(E) 105)
· Proposed Block E Build Ups (2305 AP(E) 104)
· Galteemore Farm Repair Schedule (Rev A)
· Galteemore Farm Internal and External Finishes Schedule (2305 AP(E) 102 Rev A)
· Proposed Block E and Q Repair and External Wall Strategy (2305 AP 102 Rev A)
· Galteemore Farm Ecology Enhancements
· Proposed Block E and Q Roof Plan (2305 AP(E) 103)
· Proposed Retaining Wall (2305 AP(E) 101 Rev A)
· Additional Materials Information (26 January 2026)
· Material Samples 01, 02, and 03

Condition 3 of the listed building consent required the submission of detailed information relating to external joinery, ventilation and flues, a repair schedule, internal finishes, and external materials, prior to the commencement of works. The condition was imposed on the advice of the Conservation Officer due to insufficient detail at application stage and in the interests of preserving the character and appearance of the listed building.

Part (i) – External Joinery
Large‑scale joinery details were submitted and reviewed by the Conservation Officer, who confirmed in their initial consultation response that the details are acceptable. This part of the condition is therefore satisfied.

Part (ii) – External Flues and Ventilation
The applicant provided a roof plan showing the locations of the proposed flues and subsequently submitted further information confirming their size, form and appearance. In their second consultation response, the Conservation Officer confirmed that the flue details are acceptable. This element of the condition is therefore discharged.

Part (iii) – Repairs Schedule
A comprehensive repairs schedule was provided, detailing areas of retention, replacement, and the proposed approach to timber repairs. Although the document includes underpinning works not previously identified, the Conservation Officer confirmed that the level of detail is adequate and that the proposed methodology is appropriate. This part of the condition is therefore satisfied.

Part (iv) – Internal Finishes
Details of the proposed internal wall, floor and ceiling treatments were submitted, including modern lining and moisture‑management measures required for residential conversion. The Conservation Officer acknowledged that such interventions are modern but acceptable given the building’s condition, previous alterations, and approved conversion. This component of the condition is therefore discharged.

Part (v) – External Materials
The original consultation response highlighted that samples of brick and slate had not been provided. Additional information was submitted, including confirmation that the roof slate will be natural slate. Subsequently, the applicant provided photographic samples of the proposed brick types, identifying their location on site. The Conservation Officer verbally confirmed to the case officer that the brick sample labelled “Special Blend 2300” is acceptable. The applicant has confirmed they intend to use this material.

Given the submission of samples, their clear identification, and the Conservation Officer’s professional confirmation that the chosen material is acceptable, the Local Planning Authority is satisfied that this requirement has now been met.

CONCLUSION

The submitted information, together with the specialist advice received, is sufficient to satisfy all parts of Condition 3 (i–v inclusive). The condition is therefore fully discharged.



	RECOMMENDATION

To discharge condition(s) 3




