Wiltshire Council Planning Consultation Response

ECOLOGY

| Officer name: | Patrick Olshansky |  |
| --- | --- | --- |
| Date: | 05/03/2026 |  |
| Application No.: | PL/2026/00921 |  |
| Proposal: | Discharge of condition 6 (External Lighting) relating to application PL/2023/06250 |  |
| Site Address: | Standen House, Breach Lane, Chute Standen, Andover, SP11 9EE |  |
| Case Officer: | Lucy Rutter-Dowd |  |

| Condition No. | Further information required by condition | Satisfactorily addressed (Document & Date) |
| --- | --- | --- |
| 6 | No new external artificial lighting shall be installed at the site unless otherwise agreed in writing by the local planning authority. REASON: In the interests of conserving biodiversity. | Further information required. See comments below. Phase 1 and Courtyard - Lighting Plan, URQUHART & HUNT Landscape design & Ecological restoration, 03/02/2026 Workshop Proposed External Lighting Plan, Michaelis Boyd Associates, 06/02/2026 EXTERNAL LIGHTING SCHEDULE, Michaelis Boyd Associates, 06/02/2026 Garden Cottage Proposed External Lighting Plan, Michaelis Boyd Associates, 26/09/2024 Garden Cottage Proposed Elevations, Michaelis Boyd Associates, 06/02/2026 Stable Cottage Proposed South & West Elevation, Michaelis Boyd Associates, 06/02/2026 Stable Cottage Proposed North & East Elevation, Michaelis Boyd Associates, 06/02/2026 Stable Cottage Proposed External Lighting Plan, Michaelis Boyd Associates, 06/02/2026 |

The applicant’s consultant ecologist, in the Preliminary Ecological Appraisal and the Dusk Emergence Surveys for Bats, recommends that:

“No external lighting can be installed on the south and west gable ends of the new Stable Cottage. There must also be no new external lighting on the east elevation of the new Stable Cottage so the adjacent hedgerow and trees are not subject to lighting. An illuminance contour plan will need to be submitted showing that the hedgerows and trees and retained and created roosts within the Garden Cottage and new Stable Cottage will not be subject to more than 0.2–0.5 lux from light spill.”

While lighting specifications and plans have been provided, a relatively large number of light fittings are proposed, including several close to/on the above buildings and in proximity to the boundary vegetation and compensatory bat roosts. Based on the positions of the fittings alone, it is not possible to assess the cumulative lighting impacts on the boundary vegetation or confirm that the recommended lux thresholds would be achieved.

As such, an illuminance contour plan demonstrating predicted light spill levels on the above bat roosts and site boundaries would be required to clearly demonstrate compliance with the ecological recommendations.

Final sign off – all matters addressed:

| Ecologist: Patrick Olshansky | Date: |
| --- | --- |