|  | Development Services Wiltshire Council Tel: 0300 456 0114 Email:developmentmanagement@wiltshire.gov.uk www.wiltshire.gov.uk |
| --- | --- |

13 March 2026

Dear Sir

TOWN AND COUNTY PLANNING ACT 1990 (as amended)

APPROVAL OF DETAILS RESERVED BY CONDITION

| Application No: | PL/2026/00258 |
| --- | --- |
| Proposal: | Discharge of conditions 4 (Surface Water Drainage Design) of PL/2025/03653. |
| Site Address: | Westbury Court Care Home, 6 Station Road, Westbury, BA13 3JH |
| On Behalf Of: | Mr David Hicks Olympus House, Staniland Way, Peterborough, UK, PE4 6NA |

I refer to your application for the discharge of condition(s) attached to the above planning permission dated 26 January 2026. After careful consideration, the following decision has been made: Approval

Condition submitted for consideration:

Condition 4

No development hereby approved shall commence above ground floor slab level until a detailed scheme for the discharge of surface water from the site, incorporating sustainable drainage details together with permeability test results to BRE365 and including all necessary permits, consents and permissions, has been submitted to and approved in writing by the Local Planning Authority. Thereafter, the development shall not be first occupied until surface water drainage has been constructed in accordance with the approved scheme.

REASON: In order that the development is undertaken in an acceptable manner and to ensure that the development can be adequately drained

Please note that in accordance with national planning guidance, discharge of condition applications are procedural in nature and do not require public consultation. While third-party representations may occasionally be received, they are not formally invited and do not form part of the statutory decision-making process. The assessment of this application has been based solely on whether the submitted details satisfy the requirements of the relevant planning condition(s).

This letter acts as official confirmation and therefore I suggest that you attach it to the decision notice as evidence that you have complied with the requirements of the relevant condition(s).

Yours faithfully

Head of Development Management

NOTES:

- Approved Conditions:

If the condition(s) have been discharged, you may proceed with the development in accordance with the approved details. Please ensure that the approved documents or plans are implemented on-site and adhered to as part of the development. It is important to comply with all conditions of the planning permission to ensure the development remains lawful.

- Refused Conditions:

If the discharge of the condition(s) has been refused, you may submit revised details or further information to address the issues raised as part of a further discharge of the condition’s application. Please ensure that any resubmission adequately addresses the reasons for refusal. Alternatively, you can appeal the Council’s decision (see below for details).

- Partially Discharged Conditions:

If the condition(s) have been partially discharged, the remaining details that are required must be submitted for further consideration. You should provide the necessary documents in accordance with any timeframe or trigger specified in the condition to allow for the full discharge of the condition(s).

Right of Appeal:

If you are aggrieved by the decision to refuse to discharge a condition or if the condition has only been partially discharged, you have the right to appeal the decision to the Planning Inspectorate.

The appeal must be made within 6 months from the date of this decision notice. If the appeal is submitted after this 6 month period, the Planning Inspectorate will only consider it if there are exceptional circumstances.

The procedure for making an appeal is set out under Section 78 of the Town and Country Planning Act 1990 (as amended), along with the relevant provisions in the Planning and Compulsory Purchase Act 2004. For detailed guidance on how to submit your appeal, please visit the Planning Inspectorate’s website:

https://www.gov.uk/appeal-planning-decision

Please be aware that the appeal process will focus on whether the submitted details meet the requirements set out in the original planning condition(s) and relevant planning policies.