## Major
Detailed Technical Check List |  |  |  |  | To be populated by the applicant
Outline | Full | Reserved Matters | <--- STAGE OF APPLICATION ("Y" DENOTES REQUIRED INFORMATION RELEVANT TO STAGE) | Further Context / Useful Links | Has this been provided? | Justification for not supplying information | Where has this been information been provided? | Explaination
Y | Y | Y | Flood Risk Assessment / Statement
Y | Y |  | Has a Flood Risk Assessment been Provided which assesses flood risk from all sources, and assesses the suitability of the development in line with its Flood Vulnerability Classification (as per PPG). Specific flood risk sources, are outlined below | Wiltshire Flood Maps: https://wiltscouncil.maps.arcgis.com/apps/webappviewer/index.html?id=28c00215d87b468a9a0cd79c63d3d270
Y | Y |  | Records of historic Flooding (based historic flood records, SFRA, consultee concerns on planning portal (where there are adjacent / historic applications, and S19 investigation reports) |  | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y |  | Risk of Pluvial Flooding? |  | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y |  | Risk of Groundwater Flooding? |  | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y |  | Risk of Reservoir Flooding? |  | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y |  | Risk of Canal Flooding? |  | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y |  | Risk of Sewer Flooding? |  | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y |  | Risk of Fluvial Flooding (including climate change allowances)? |  | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y |  | Has a SEQUENTIAL TEST been undertaken? : | https://www.gov.uk/guidance/flood-risk-and-coastal-change#The-Exception-Test-section | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y |  | Evidence of sequential approach to the site layout i.e. the most vulnerable development should be steered to the areas at lowest flood risk |  | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y |  | If required, evidence of the EXCEPTION required (MAJOR DEVELOPMENTS ONLY ) and based on the Vulnerability Classification)? | Sequential test & Exception test: https://www.gov.uk/guidance/flood-risk-and-coastal-change#The-Exception-Test-section | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y | Y | Surface Water Drainage Strategy | All drainage systems must comply with the National SuDS Standards, unless the Wiltshire Council Standard provides a stricter level of restriction. Applicants should expect to provide a matrix of how they have complied with the National SuDS Standards in full
Y | Y | Y | We would expect the following information to be provided as part of the drainage strategy for the site. To aid clarity, we have broken this down by theme
Y | Y | Y | Existing Runoff Rates
Y | Y |  | Catchment plans showing the existing catchment areas draining to each outfall | The applicant should provide catchment plans showing the current catchment areas which drain to an outfall. This is to ensure that calculations of existing discharge rates (either greenfield or brownfield) accurately represent the current drainage regime, therefore avoiding increasing catchment areas draining to a specific outfall (i.e. catchment transfer). | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y |  | Calculations for Greenfield runoff rates using one of two methods: 1. Flood Estimation Handbook (FEH); or 2. Institute of Hydrology Report 124 (IH124) based on Flood Studies Report (FSR) | The applicant should undertake greenfield runoff calculations using both the FEH and FSR datasets and select the most conservative rainfall dataset for their specific site. If this comparison cannot be undertaken, the applicant should provide justification for this. | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y |  | If applicable, calculations for Brownfield Site existing discharge rates | Only relevant for brownfield sites. The calculations can be provided in the form of hydraulic model outputs from an existing drainage model or can be based on Modified Rational Method Calculations in accordance with the Wallingford Proceedure. | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y | Y | Surface Water Drainage Hierarchy and Point of Discharge Requirements
Y | Y |  | Evidence the surface water disposal hierachy (outlined below) has been implemented: a) Surface water runoff is collected for use. b) Discharge into the ground via infiltration. c) Discharge to a watercourse or other surface water body. d) Discharge to surface water sewer e) Discharge to another drainage system (e.g. highways drainage) which ultimately dischrges to a watercourse / waterbody f) Discharge to a combined sewer. | As per National SuDS Standards Additional requirements dependent on the level of the hierarchy are detailed below. | No | N/A |  | See SLR Surface Water Drainage Statement - landscaping to increase existing permable area. Existing drainage retained
Y | Y | Y | Where an Infiltration Based Drainage Strategy is Proposed
Y | Y | Y | Soakaway tests carried out in accordance with BRE365 methodology at the location and depth of proposed soakaway features. Test logs, and calculations of infiltration rates to be provided | Wiltshire Council Soakaway Guidance CIRIA C753 BRE Digest 365 | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y | Y | Desk study, supported by ground investigations to establish the peak winter groundwater level. | Wiltshire Council Soakaway Guidance CIRIA C753 BRE Digest 365 | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
| Y | Y | For sites in chalk-based geologies (or where there is a risk of dissolution features forming), desk study supported by ground investigations to establish the density and dissolution risk of the underlying chalk. | Wiltshire Council Soakaway Guidance CIRIA C753 BRE Digest 365 CIRIA C753 | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y | Y | Calculations that demonstrate that the soakaway has been designed for: • 1 in 100yr + cc flows (for multiple properties) • 1 in 10yr + cc flows (for individual properties) • Half drain time <24hrs • Appropriate factor of safety in line with CIRIA C753 (Table 25.2) guidance has been included. | Wiltshire Council Soakaway Guidance CIRIA C753 BRE Digest 365 | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
| Y | Y | Demarcation on drainage plan drawings showing the minimum clearance (5m / 10m / 20m depending on underlying ground conditions and dissolution risk) from point-soakaway to structures, buildings, public highways, site boundaries, other soakaways | Wiltshire Council Soakaway Guidance CIRIA C753 BRE Digest 365 | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
| Y | Y | Details of how silt ingress into soakaways will be prevented, to ensure that soakaway performance is maintained across its full design life, and does not fail due to siltation over time | CIRIA C753 National SuDS Standards | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y | Y | Where an Attenuation Based Drainage Strategy is Proposed (i.e. Discharge to watercourse, sewers etc.)
| Y | Y | Catchment plans showing the proposed (post-development) catchment areas draining to each outfall |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y | Y | Proposed discharge rates from the site (post-development) in compliance with Wiltshire Council's policy for Discharge Rates. Proposed Discharge Rates to be provided for the 1 in 1, 1in 30, 1 in 100yr events, including climate change allowances in line with EA Guidance | Wiltshire Council Discharge Rate Policy | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y | Y | When discharging to an above ground surface water body, sewer or other piped drainage system, the surface water runoff volume for the 1 in 100yr, 6hr event shall be controlled to ensure the runoff from the development does not increase flood risk elsewhere | National SuDS Standards | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y |  | Demonstration via plans that proposed attenuation features are located outside of Flood Zones 2 and 3, or that they are either protected from inundation from the 1 in 100yr + climate change flood event or adequately sized to accommodate the inundation volume in addition to the required attenuation | National SuDS Standards | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y | Y | Additional requirements where there is proposed discharge Highways Drainage System
| Y | Y | There is no automatic right of connection to the highways drainage system, and therefore other methods of discharge should be prioritised. Where there is a request to discharge to the Highways Drainage Systems the following will also need to be provided: - CCTV condition survey from the proposed point of connection to the ultimate discharge point to watercourse / waterbody. - Hydraulic modelling of the existing highways drainage system - Hydraulic modelling to demonstrate that the proposed discharge can be fully and safely accomodated within the highways drainage system, without increasing flood risk to the highway in the 1in 100yr + climate change event. - Details of any proposed remedial works and mitigations to facilitate the discharge to the highways drainage system. |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y | Y | Additional requirements where there is proposed discharge to Sewer
| Y | Y | Where there is a request to discharge to existing sewers the following will also need to be provided: - Agreement from the asset owner on the point and location of discharge - Any other information required by the asset owner |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y | Y | Drainage Calculations
Y | Y | Y | Where relevant, infiltration calculations to size proposed infiltration based features and demonstrate compliance with the Council's Soakaway Policy |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y |  |  | Outline calculations to determine the volume of attenuation storage required on site in order to limit discharge rates in line with the Discharge Rate Policy |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y | Y | Evidence shall be provided to demonstrate that Interception shall be delivered within the development for the first 5mm of rainfall for the majority of rainfall events, for both winter and summer seasons. This is to prevent runoff from the site for the majority of small (frequent) rainfall events and for the initial depth of rainfall for larger events. For compliance to be demonstrated, 80% interception shall be achieved during the summer (May to October) and 50% in winter (November to April). | National SuDS Standards | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
| Y | Y | Detailed hydraulic calculations demonstrating that the required discharge rates in line with WC policy/ external asset owner agreements are met whilst also demonstrating: • Calculations and drawings for the drainage system design showing designated holding areas and conveyance routes based on no flooding on site for a 1 in 30 year plus climate change rainfall event. • Calculations and drawings for the drainage system design showing designated holding areas and conveyance routes based on no flooding on site for a 1 in 100 year plus climate change rainfall event in respect to a building (including basement) or utility plant susceptible to water within the development. • Calculations should include an allowance for increased surface water runoff, as a result of urban creep, in accordance with LASOO guidance. • Hydraulic Models should set the MADD factor / additional storage volume factor to 0m3 / ha in order to prevent an overestimation of storage capacity in the proposed drainage network. • If attenuation tanks are proposed that an allowance for reduced attenuation volume due to silt ingress (as per Section 21.9.9 of the SuDS Manual CIRIA C753) |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
| Y | Y | Evidence that a sensitivity analysis on the network considering surcharged outfall conditions has been undertaken. | National SuDS Standards | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
| Y | Y | Evidence that in attenuation basins / infiltration basins / ponds, a min 300mm freeboard above the critical 1 in 100yr + cc storm is achieved |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
| Y | Y | Demonstration that in the 1 in 30yr storm event, attenuation / infiltration features half drain within 24hrs |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
| Y | Y | Water quality calculations based on a developed SuDS Treatment Train (and not a Pipe-to-Pond) to demonstrate that water quality within surface water runoff can be appropriately managed to prevent an increased pollution risk. | National SuDS Standards | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
| Y | Y | Structural calculations to demonstrate that proposed drainage components are sufficiently designed to resist anticipated forces. (Depending on the system this may require consideration of vertical and lateral loads) |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area
Y | Y | Y | Drainage Drawings
Y |  |  | Preliminary layout plans showing the existing site location, and proposed drainage strategy for the site (to an outline design level of detail) |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area. Existing surface water draimage arrangements to be retained
| Y | Y | A detailed topographical survey that clearly identifies the existing drainage features on the site as well as level contours to show overland flow routes. |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area. Existing surface water draimage arrangements to be retained
| Y | Y | A detailed plan showing the existing and proposed drainage features on the site and how the proposed drainage strategy will be implemented. Pipe numbers, manhole numbers etc. should link to those used in the hydraulic model so as the design can be correlated. Nature based SuDS Solutions shall be included within the design in accordance with NPPF, and holistically planned into the overall development layout. |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area. Existing surface water draimage arrangements to be retained
| Y | Y | Demonstration on drainage drawings that finished floor levels will be set a min 150mm above surrounding ground levels and above the 1 in 100yr + cc flood level, and in areas where the 100yr + cc flood depth is uncertain that FFL are set mm above this in line with EA Guidance |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area. Existing surface water draimage arrangements to be retained
| Y | Y | Drawing showing how overland exceedance flows in excess of the 1 in 100yr + cc storm event will be wholly and safely managed on site, such that flood risk is not increased to people, property, public highways. Existing overland flow routes and watercourses originating outside of the site and flowing through the site should be shown on the plan to demonstrate how these will be managed. | National SuDS Standards | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area. Existing surface water draimage arrangements to be retained
| Y | Y | Cross-section and long-section drawings through any attenuation and infiltration features showing top water levels for the 1 in 100yr + cc storm event |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area. Existing surface water draimage arrangements to be retained
Y | Y | Y | Management of Safe Access / Egress from the site
Y | Y |  | If access to the site (vehicular or pedestrian) predicted to flood, evidence that the Flood Hazard Rating has been assessed in accordance with FD2320 Guidance and PPG with regards maintaining safe access/ egress during the design storm. |  | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
| Y | Y | If access to the site (vehicular or pedestrian) predicted to flood, evidence of an emergency plan in place that has been agreed with Wiltshire Council. | Guidance on the preparation of an emergency plan can be found here. https://www.adeptnet.org.uk/floodriskemergencyplan | No | N/A |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y | Y | Construction Management
| Y | Y | Provision of a Construction Management Plan detailing measures during construction to control pollution to existing watercourses and groundwater, and prevent an increase in flood risk. |  |  |  |  | Not relevant to the nature of the planning application (i.e. landscaping)
Y | Y | Y | Contamination water quality
| Y | Y | Production of contamination risk assessment for brownfield / contaminated sites / sites that are shown to interact with sensitive environmental receptors (SPZ1, Principal Aquifers, RAMSAR sites, SSSI etc.) to demonstrate contaminaition risk will be appropriately managed |  |  |  |  | Not relevant to the nature of the planning application (i.e. landscaping), which results in the change of some paved areas to permable areas
| Y | Y | Calculations which demonstrate that the proposed drainage design provides a sufficient level of water treatment. |  |  |  |  | Not relevant to the nature of the planning application (i.e. landscaping), which results in the change of some paved areas to permable areas
Y | Y | Y | Amenity and biodiversity
| Y | Y | Evidence that the drainage proposal takes opportunities available for improving the character and quality of the area through the provision of amenity, biodiversity, maintaining water quality and climate change resilience in accordance with the National Planning Policy Guidance. | National SuDS Standards | Y |  | Refer to SLR Surface Water Drainage Statement and Illusrative Masterplan, which shows how permable soft landsaping will be introduced into the site.
Y | Y | Y | Legal and Permissions
| Y | Y | Consent for any outfalls from the proposed drainage systems into a public sewer, canal, or other drainage system not owned by the applicant. |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area. Existing surface water draimage arrangements to be retained
| Y | Y | Evidence of permissions to cross third party land and permissions from riparian owners to discharge to the watercourse/river in perpetuity. |  | No | N/A |  | See SLR Surface Water Drainage Statement - no new drainage needed. Landscaping to increase existing permable area. Existing surface water draimage arrangements to be retained
Y | Y | Y | Maintenance
| Y | Y | Evidence of clear arrangements for the ownership and ongoing maintenance of the SUDS over the lifetime of the development |  | Yes |  | See SLR Surface Water Drainage Statement
| Y | Y | Details of how the proposed and existing drainage features on the site will be maintained and managed after completion with confirmation from the relevant authority that they will adopt any systems that are being offered for adoption. This must include access arrangements / access easements, proposed maintenance activities, maintenance frequency, responsible parties, and funding mechanisms for ongoing maintenance |  | Yes |  | See SLR Surface Water Drainage Statement
| Y | Y | Where the design life of proposed drainage features is less than the design life of the development, details of how the drainage will be replaced at the end of its design life | National SuDS Standards | Yes |  | See SLR Surface Water Drainage Statement