APPLICATION FOR THE DISCHARGE OF A PLANNING CONDITION

CASE OFFICER REPORT

| APPLICATION REFERENCE: | PL/2026/00882 |
| --- | --- |
| APPLICATION TYPE: | DISCHARGE OF CONDITION |
| SITE ADDRESS: | Land South East of Elm View, Kings Road, Market Lavington, Wilts, SN10 4QB |
| PROPOSAL: | Discharge of condition 4 (Construction Management Statement) of PL/2024/07119 - Conversion of outbuildings to residential |

### PROPOSAL This report has been prepared to support the application for the discharge of conditions attached to the planning permission granted for the development at Land South East of Elm View, Kings Road, Market Lavington, Wilts. The planning permission was granted on 30 January 2025 under reference number PL/2024/07119. This application seeks to discharge the following condition(s):

Condition 4

This report outlines how the conditions have been satisfied and includes the necessary documentation to evidence compliance. The applicant has submitted a Construction Management Statement dated 28 January 2026. However, and for the avoidance of doubt, a revised site plan to supersede paragraph 17 on page 9, has been received as a separate document. The site plan originally had a detail to lay hardstanding in front of the building, which would have been in full contrast to the approved site plan in PL/2024/07119 (PL_001 Rev B) which specified a gravel driveway. To change a gravel driveway to a hardstanding would have required a new full planning application or a variation of condition application and cannot be changed via a discharge of condition application. Furthermore such a change would have not been in compliance with conditions 2 and 7 relating to the approved plan list and parking area to be laid out in accordance with the approved plans and maintained as such for the lifetime of the development.

CONSULTATION Wiltshire Council Highways Officer has no objection.

ASSESSMENT

Condition 4: No development shall commence on site (including any works of demolition), until a Construction Management Statement, together with a site plan, which shall include the following: 1. the parking of vehicles of site operatives and visitors; 2. Number and size of delivery vehicles/ construction vehicles 3. loading and unloading of plant and materials; 4. storage of plant and materials used in constructing the development; 5. wheel washing facilities; 6. measures to control the emission of dust and dirt during construction; 7. a scheme for recycling/disposing of waste resulting from demolition and construction works; and 8. measures for the protection of the natural environment. 9. hours of construction, including deliveries; 10. pre-condition photo survey – any damage related to the development will be put right (to the satisfaction of the LHA) within 6 months of the development completion. has been submitted to, and approved in writing by, the Local Planning Authority. The approved Statement shall be adhered to throughout the construction period. The development shall not be carried out otherwise than in accordance with the approved construction method statement without the prior written permission of the Local Planning Authority. REASON: To minimise detrimental effects to the neighbouring amenities, the amenities of the area in general, detriment to the natural environment through the risks of pollution and dangers to highway safety, during the construction phase and to comply with Core Policy 62 of the Wiltshire Core Strategy 2015 Case Officer Response: The condition was requested by Highways and has been considered by them to be acceptable. The hours of construction 0700-1900 Monday to Friday and 0800-1300 Saturdays and deliveries 0800-1630 Monday to Friday and 0800-1300 Saturdays would not adversely affect neighbouring amenity.

RECOMMENDATION: To discharge condition 4 of PL/202/07119