| To: | Verity Giles-Franklin | From: | Drainage (Barney Taylor) |
| --- | --- | --- | --- |

| Planning App Ref: | PL/2025/09349 |
| --- | --- |
| Service Ref: | Drainage |
| Date: | 16/03/2026 |

PROPOSAL

Reconfiguration and resurfacing of the designated car parking area for the main entrance at Melksham Community Hospital, and the replacement and installation of associated external lighting.

SITE LOCATION

Melksham Community Hospital, Spa Road, Melksham, SN12 7NZ.

SUMMARY OF THE CONSULTEE POSITION

| Object |  |
| --- | --- |
| Holding Objection: Further information required |  |
| Support |  |
| No comment |  |
| No objection | X |
| No objection subject to conditions |  |
| Consultation not required |  |

APPLICATION DOCUMENTS REVIEWED

- Application Form

- Combined Geo-Environmental & Geotechnical Ground Investigation Report (GIR)

- Drainage Layout

- Existing Site Plan

- Planning Statement

- Proposed Drainage Details – Sheet 1 & 2

- Proposed Site Plan

- SuDS Strategy

- 24390-~1.PDF

ASSESSMENT OF THE PROPOSAL

Context

In planning terms, flood risk refers to the potential for development to increase the likelihood or severity of flooding on-site or elsewhere, while drainage considerations relate to the capacity of the site and surrounding infrastructure to manage surface water runoff in a sustainable and effective manner.

The local planning authority must be satisfied that the proposed development will not increase flood risk, either on-site or elsewhere, and that surface water will be managed in a sustainable and coordinated manner.

Where necessary, planning conditions or legal agreements may be used to secure the implementation, maintenance, and monitoring of SuDS and other drainage infrastructure.

Assessment

The application has been supported with a Site-Specific Flood Risk Assessment (FRA). It should be noted that our comments below are reliant on the accuracy and completeness of the FRA and we do not take any responsibility for incorrect data or interpretation made by the authors.

It is noted in the Geo-Environmental & Geotechnical Ground Investigation Report that discharging surface water via soakaway is not feasible due to an infiltration rate of 7.06e-8 established at on-site BRE365 testing.

The proposals to redevelop the existing hardstanding car park will increase the paved ‘impermeable’ area at the site, however this application can be considered as brownfield. The applicant is proposing to re-use the existing drainage infrastructure onsite, discharging at 1l/s (1 in 1 to 1 in 100 event) & 2l/s (1 in 10+cc event) to a surface water sewer.

To prevent exceedance flowing offsite, the car park has been designed as a bowl to ensure flows accumulate in parking spaces 19 and 23. The applicant has demonstrated this design with the exceedance flow plan drawing provided.

RECOMMENDATION:

No objection.

RELEVANT PLANNING POLICY & GUIDANCE

National Planning Policy Framework (NPPF) NPPF December 2024 Link

Planning and Flood Risk (Paras 170–182)

Wiltshire Core Strategy – Adopted January 2015 Wiltshire Core Strategy Link

Core Policy 67 requires that all new development must address flood risk from all sources and not increase flood risk elsewhere. It supports the use of Sustainable Drainage Systems (SuDS) and requires that developments demonstrate how surface water will be managed sustainably.

Wiltshire Local Plan (emerging) Local Plan Review Link

Development must avoid high flood risk areas using the sequential approach. Proposals require a Flood Risk Assessment, Surface Water Drainage Strategy, and Groundwater Assessment where relevant. All schemes must include Sustainable Drainage Systems (SuDS), with major developments achieving a 30% reduction in runoff compared to greenfield rates, following the surface water discharge hierarchy.

Culverting and building over watercourses is discouraged, and natural drainage features should be retained or restored. Drainage strategies must ensure safety during extreme flood events (1-in-100-year + climate change) and provide safe access/egress. SuDS should also deliver biodiversity, amenity, and water quality benefits.

Supplementary Planning Documents

Wiltshire Council Drainage Betterment Strategy (2024) SPD Link

This technical guidance outlines expectations for surface water discharge hierarchy, attenuation, exceedance routes, water quality, and post-development monitoring.

Wiltshire Design Guide (March 2024) SPD Link

Includes principles of good design, including integration of SuDS and flood resilience.

Other Relevant Policies and Guidance

Planning Practice Guidance (PPG) – Flood Risk and Drainage Guidance Link
Covers detailed expectations for flood risk assessments, SuDS design, discharge hierarchy, sequential testing and climate change allowances.

Wiltshire SFRA (2024) SFRA Link

This document underpins the Sequential and Exception Test application and provides site screening evidence.

Section 19 Flood Investigation Reports Section 19 Reports Link

These documents summarise investigations into significant local flood incidents and establish what caused the flooding, how authorities responded, and actions needed to prevent future floods.

National Standards for Sustainable Drainage Systems (SuDS) June 2025 Guidance Link

Establishes mandatory criteria for runoff destination hierarchy, interception, flood resilience, water quality, amenity, biodiversity, and long-term maintenance for all new developments in England.

SuDS Manual (CIRIA C753)

This document set outs design principles, especially where attenuation, exceedance routing, and water quality are discussed.

Infiltration drainage design must be supported by ground investigations, including infiltration testing in accordance with British Research Establishment (BRE) Digest 365 – Soakaway Design, and groundwater level monitoring that accounts for seasonal variation.