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30 March 2026

Dear Sir/Madam

TOWN AND COUNTY PLANNING ACT 1990 (as amended)
APPROVAL OF DETAILS RESERVED BY CONDITION

	Application No:
	PL/2026/01726

	Proposal:
	Discharge of Condition 8 (Lighting) of PL/2021/04857 - Construction of 2no. dwellings with associated access (amendment to 19/07637/FUL)

	Site Address:
	Land to the rear of Green Gables, 38 Lottage Road, Aldbourne, Marlborough, SN8 2ED

	On Behalf Of:
	Mr. D Liu
4 orchid street, London, london, united kingdom, W120SY



I refer to your application for the discharge of condition(s) attached to the above planning permission dated 13 March 2026. After careful consideration, the following decision has been made:

Condition(s) submitted for consideration:

	Condition 8:
No external lighting shall be installed on-site until plans showing the type of light appliance, the height and position of fitting, illumination levels and light spillage in accordance with the appropriate Environmental Zone standards set out by the Institution of Lighting Professionals in their publication “The Reduction of Obtrusive Light” Guidance Note 01/21 (reference GN01/21), have been submitted to and approved in writing by the Local Planning Authority. The approved lighting shall be installed and shall be maintained in accordance with the approved details and no additional external lighting shall be installed.
REASON: In the interests of the amenities of the area and to minimise unnecessary light spillage above and outside the development site.

Details Submitted for Approval: Plans 409WIL‑101F and 409WIL‑102E, elevations and floor plans; and product sheets for the “Tatton” Garden Wall Light and “Litecraft Alford” Wall Light.

Decision: The details submitted in relation to this condition are refused.

Reason for Decision:

The submitted details remain insufficient to demonstrate compliance with Condition 8. The submission lacks essential technical information required under ILP Guidance Note 01/21, including clear identification of which luminaires correspond to the ‘Type 1’ and ‘Type 2’ fittings, photometric data, illumination calculations, light‑spill modelling, an assessment of obtrusive light, a Lighting Strategy Statement, and a dedicated lighting layout or luminaire schedule. Given the site’s highly sensitive location within the North Wessex Downs National Landscape, on an elevated hillside above neighbouring properties and at the edge of the village where protected species are likely to be more prominent, the absence of this information fails to demonstrate that the proposed lighting would avoid harm to the area’s dark skies, landscape character or ecological interests. As such, the details fail to meet the requirements of Core Policy 51 (Landscape) and Core Policy 57 (Ensuring High Quality Design and Place Shaping) of the Wiltshire Core Strategy, and the Local Planning Authority cannot confirm that the lighting would avoid unacceptable light spill, glare or nuisance. The condition has therefore not been satisfied and cannot be discharged.



Please note that in accordance with national planning guidance, discharge of condition applications are procedural in nature and do not require public consultation. While third-party representations may occasionally be received, they are not formally invited and do not form part of the statutory decision-making process. The assessment of this application has been based solely on whether the submitted details satisfy the requirements of the relevant planning condition(s). 



Yours faithfully 
Head of Development Management

NOTES:

1. Approved Conditions:
If the condition(s) have been discharged, you may proceed with the development in accordance with the approved details. Please ensure that the approved documents or plans are implemented on-site and adhered to as part of the development. It is important to comply with all conditions of the planning permission to ensure the development remains lawful.

2. Refused Conditions:
If the discharge of the condition(s) has been refused, you may submit revised details or further information to address the issues raised as part of a further discharge of the condition’s application. Please ensure that any resubmission adequately addresses the reasons for refusal. Alternatively, you can appeal the Council’s decision (see below for details). 

3. Partially Discharged Conditions:
If the condition(s) have been partially discharged, the remaining details that are required must be submitted for further consideration. You should provide the necessary documents in accordance with any timeframe or trigger specified in the condition to allow for the full discharge of the condition(s).

Right of Appeal:
If you are aggrieved by the decision to refuse to discharge a condition or if the condition has only been partially discharged, you have the right to appeal the decision to the Planning Inspectorate.

The appeal must be made within 6 months from the date of this decision notice. If the appeal is submitted after this 6 month period, the Planning Inspectorate will only consider it if there are exceptional circumstances.

The procedure for making an appeal is set out under Section 78 of the Town and Country Planning Act 1990 (as amended), along with the relevant provisions in the Planning and Compulsory Purchase Act 2004. For detailed guidance on how to submit your appeal, please visit the Planning Inspectorate’s website:
https://www.gov.uk/appeal-planning-decision

Please be aware that the appeal process will focus on whether the submitted details meet the requirements set out in the original planning condition(s) and relevant planning policies.
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