|  | Development Services Wiltshire Council Tel: 0300 456 0114 Email:developmentmanagement@wiltshire.gov.uk www.wiltshire.gov.uk |
| --- | --- |

09 April 2026

Dear Sir/Madam

TOWN AND COUNTY PLANNING ACT 1990 (as amended)

APPROVAL OF DETAILS RESERVED BY CONDITION

| Application No: | PL/2025/08874 |
| --- | --- |
| Proposal: | Discharge of Conditions 9 (Details of bird nest boxes), 10 (External lighting) and 11 (SW drainage) of PL/2024/04868 - Alterations and Extension to Commercial Building |
| Site Address: | South West Storage Solutions, Fairwood House, Fairwood Road, Dilton Marsh, BA13 4EF |
| On Behalf Of: | South West Storage Solutions SOUTH WEST STORAGE SOLUTIONS, FAIRWOOD HOUSE, FAIRWOOD ROAD, DILTON MARSH, WILTSHIRE, BA13 4EE |

I refer to your application for the discharge of condition(s) attached to the above planning permission. After careful consideration, the following decision has been made:

Condition(s) submitted for consideration:

Condition 9: Prior to works commencing above ground floor slab level details of the number, design and locations of bird nest boxes, shall be submitted to the local authority for approval. These details should be clearly shown on an enforceable plan (e.g., site plan/technical elevations drawing). The approved details shall be implemented before occupation of the final works. These features will continue to be available for the target species for the lifetime of the development. REASON: To provide enhancement for biodiversity. Details Submitted for Approval: Proposed site plan indicating location of lighting plus bird boxes (drg no. 4168-05 rev A) and Planning Statement dated Oct 2025 Decision: The details submitted in relation to this condition are approved. Reason for Decision: Details submitted are sufficient to discharge the above condition. There are no objections from the council’s ecology team.

Condition 10: No external light fixture or fitting will be installed within the application site unless details of existing and proposed new lighting have been submitted to and approved by the Local Planning Authority in writing. The submitted details will demonstrate how the proposed lighting will impact on bat habitat compared to the existing situation. The plans will be in accordance with the appropriate Environmental Zone standards set out by the Institution of Lighting Professionals (ILP) Guidance Notes on the Avoidance of Obtrusive Light (GN 01/2021) and Guidance note GN08/23 “Bats and artificial lighting at night”, issued by the Bat Conservation Trust and Institution of Lighting Professionals. REASON: To avoid illumination of habitat used by bats. Details Submitted for Approval: Proposed site plan indicating location of lighting plus bird boxes (drg no. 4168-05 rev A) and Planning Statement dated Oct 2025 Decision: The details submitted in relation to this condition are approved. Reason for Decision: Details submitted are sufficient to discharge the above condition. There are no objections from the council’s ecology team.

Condition 11: No development hereby approved shall commence above ground floor slab level until a detailed scheme for the discharge of surface water from the site (including surface water from the access / driveway), incorporating sustainable drainage details together with permeability test results to BRE365 and including all necessary permits, consents and permissions, has been submitted to and approved in writing by the Local Planning Authority. Thereafter, the development shall not be first occupied until surface water drainage has been constructed in accordance with the approved scheme. REASON: In order that the development is undertaken in an acceptable manner and to ensure that the development can be adequately drained. Details Submitted for Approval: Technical Note – Surface Water Drainage Design (includes surface water drainage layout plan) by Cole Easdon dated May 2025, email from agent dated 27 Feb 2026 plus email from agent dated 13 March 2026 providing additional information. Decision: The details submitted in relation to this condition are approved. Reason for Decision: Details submitted, including sustainable drainage details, are sufficient to discharge the planning condition for this relatively minor development.

Please note that in accordance with national planning guidance, discharge of condition applications are procedural in nature and do not require public consultation. While third-party representations may occasionally be received, they are not formally invited and do not form part of the statutory decision-making process. The assessment of this application has been based solely on whether the submitted details satisfy the requirements of the relevant planning condition(s).

This letter acts as official confirmation and therefore I suggest that you attach it to the decision notice as evidence that you have complied with the requirements of the relevant condition(s).

Yours faithfully

Head of Development Management

NOTES:

- Approved Conditions:

If the condition(s) have been discharged, you may proceed with the development in accordance with the approved details. Please ensure that the approved documents or plans are implemented on-site and adhered to as part of the development. It is important to comply with all conditions of the planning permission to ensure the development remains lawful.

- Refused Conditions:

If the discharge of the condition(s) has been refused, you may submit revised details or further information to address the issues raised as part of a further discharge of the condition’s application. Please ensure that any resubmission adequately addresses the reasons for refusal. Alternatively, you can appeal the Council’s decision (see below for details).

- Partially Discharged Conditions:

If the condition(s) have been partially discharged, the remaining details that are required must be submitted for further consideration. You should provide the necessary documents in accordance with any timeframe or trigger specified in the condition to allow for the full discharge of the condition(s).

Right of Appeal:

If you are aggrieved by the decision to refuse to discharge a condition or if the condition has only been partially discharged, you have the right to appeal the decision to the Planning Inspectorate.

The appeal must be made within 6 months from the date of this decision notice. If the appeal is submitted after this 6 month period, the Planning Inspectorate will only consider it if there are exceptional circumstances.

The procedure for making an appeal is set out under Section 78 of the Town and Country Planning Act 1990 (as amended), along with the relevant provisions in the Planning and Compulsory Purchase Act 2004. For detailed guidance on how to submit your appeal, please visit the Planning Inspectorate’s website:

https://www.gov.uk/appeal-planning-decision

Please be aware that the appeal process will focus on whether the submitted details meet the requirements set out in the original planning condition(s) and relevant planning policies.