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27 April 2026

Dear Sir/Madam

TOWN AND COUNTY PLANNING ACT 1990 (as amended)
APPROVAL OF DETAILS RESERVED BY CONDITION

	Application No:
	PL/2026/01974

	Proposal:
	Discharge of conditions 5 (Drainage Verification and Actions Plan), 6 (Foul Water Connection) & 7 (External Lighting) relating to application PL/2025/04603.

	Site Address:
	Old Kennels, Battlesbury Road, Warminster, BA12 0DL

	On Behalf Of:
	Brambles Outdoor Nursery Group
Old Kennels , Battlesbury Road, Warminster, BA12 0DL



I refer to your application for the discharge of condition(s) attached to the above planning permission dated 24 March 2026. After careful consideration, the following decision has been made:

Discharge of Conditions – Recommendation
Conditions 5 (Drainage Verification and Actions Plan), 6 (Foul Water Connection) and 7 (External Lighting) of planning permission PL/2025/04603 (Change of use of land from kennels (sui generis) to nursery (Class E) and associated development).

Condition 5 – Drainage Verification and Actions Plan
Before any external groundworks commence or before first occupation of the nursery use (whichever is sooner), a Drainage Verification and Actions Plan identifying the existing surface water and foul drainage arrangements serving the site… shall be submitted to and approved in writing by the Local Planning Authority.
REASON: To ensure surface water and foul drainage are correctly identified, serviceable and managed so that flood risk is not increased on‑ or off‑site, having regard to the site’s groundwater flood risk screening and the absence of new impermeable area.

Submitted Details:
· Discharge of Conditions Report, Peter Tesar Architectural Design
· Drainage Plan, Drawing No. PTAD/140325/14
· Supporting correspondence and drainage agreements (including Ancala Drainage acceptance)

Assessment:
The Council’s Drainage Officer is satisfied that the submitted Drainage Verification and Actions Plan adequately identifies the existing surface water and foul drainage arrangements, demonstrates appropriate exceedance routing to soft landscaped areas, confirms no increase in flood risk on‑or off‑site, and provides a suitable maintenance schedule for the lifetime of the development. No remedial works are required at this time.

Condition 6 – Foul Water Connection
The use of the nursery shall not commence until written confirmation has been submitted to and approved in writing by the Local Planning Authority that the foul water connection(s) from the site to the public sewer are acceptable to the sewerage undertaker.
REASON: To ensure adequate foul drainage capacity is available and to prevent sewer surcharge and related flood risk prior to the site becoming operational.

Submitted Details:
· Written confirmation from the relevant sewerage undertaker confirming acceptability of the foul water connection
· Supporting correspondence confirming downstream wastewater treatment arrangements and capacity

Assessment:
The Council’s Drainage Officer is satisfied that acceptable written confirmation has been provided by the sewerage undertaker confirming that the foul water connection and associated flows are acceptable and will not result in capacity or flooding issues.

Condition 7 – External Lighting
No external light fixture or fitting will be installed within the application site unless details of existing and proposed new lighting have been submitted to and approved by the Local Planning Authority in writing.
REASON: To avoid illumination of wildlife-sensitive habitats, including habitat used by bats.

Submitted Details:
· Discharge of Conditions Report, Sections 4.1 and 4.2

Assessment:
The Council’s Ecology Officer confirms that the submitted information demonstrates that no external lighting currently exists on site and that no new external lighting is proposed as part of the development. The condition clearly requires that any future external lighting would require separate submission and approval prior to installation. On this basis, the requirements of Condition 7 have been satisfactorily addressed.

Decision
The submitted information, detailed above, is considered to satisfy the requirements of conditions 5, 6 and 7 of planning permission PL/2025/04603, and the condition(s) are hereby discharged. The development and associated works must be carried out and thereafter operated in accordance with the approved details within this application PL/2026/01974 and planning permission PL/2025/04603. Please ensure a copy of this correspondence is kept with the decision notice.

Please note that in accordance with national planning guidance, discharge of condition applications are procedural in nature and do not require public consultation. While third-party representations may occasionally be received, they are not formally invited and do not form part of the statutory decision-making process. The assessment of this application has been based solely on whether the submitted details satisfy the requirements of the relevant planning condition(s). 

This letter acts as official confirmation and therefore I suggest that you attach it to the decision notice as evidence that you have complied with the requirements of the relevant condition(s).


Yours faithfully 
Head of Development Management

NOTES:

1. Approved Conditions:
If the condition(s) have been discharged, you may proceed with the development in accordance with the approved details. Please ensure that the approved documents or plans are implemented on-site and adhered to as part of the development. It is important to comply with all conditions of the planning permission to ensure the development remains lawful.

2. Refused Conditions:
If the discharge of the condition(s) has been refused, you may submit revised details or further information to address the issues raised as part of a further discharge of the condition’s application. Please ensure that any resubmission adequately addresses the reasons for refusal. Alternatively, you can appeal the Council’s decision (see below for details). 

3. Partially Discharged Conditions:
If the condition(s) have been partially discharged, the remaining details that are required must be submitted for further consideration. You should provide the necessary documents in accordance with any timeframe or trigger specified in the condition to allow for the full discharge of the condition(s).

Right of Appeal:
If you are aggrieved by the decision to refuse to discharge a condition or if the condition has only been partially discharged, you have the right to appeal the decision to the Planning Inspectorate.

The appeal must be made within 6 months from the date of this decision notice. If the appeal is submitted after this 6 month period, the Planning Inspectorate will only consider it if there are exceptional circumstances.

The procedure for making an appeal is set out under Section 78 of the Town and Country Planning Act 1990 (as amended), along with the relevant provisions in the Planning and Compulsory Purchase Act 2004. For detailed guidance on how to submit your appeal, please visit the Planning Inspectorate’s website:
https://www.gov.uk/appeal-planning-decision

Please be aware that the appeal process will focus on whether the submitted details meet the requirements set out in the original planning condition(s) and relevant planning policies.
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