|  | Development Services Wiltshire Council Tel: 0300 456 0114 Email:developmentmanagement@wiltshire.gov.uk www.wiltshire.gov.uk |
| --- | --- |

30 April 2026

Dear Sir/Madam

PLANNING (LISTED BUILDING AND CONSERVATION AREAS) ACT 1990

APPROVAL OF DETAILS RESERVED BY CONDITION

| Application No: | PL/2026/01460 |
| --- | --- |
| Proposal: | Discharge of conditions 4 (CONSTRUCTION METHODOLOGY - PARTY WALL), 5 (CONSTRUCTION METHODOLOGY - GABLE WALL), and 6 (JOINERY DETAILS - NEW GABLE WALL) of PL/2025/09622 - Demolition of rear (south) modern extension to No. 24 and reinstatement of original lower section of gable wall. Reconstruction of original ground floor internal front section of party wall together with adaptations and repairs to shop windows |
| Site Address: | 22/24 Market Place, Warminster, BA12 9AN |
| On Behalf Of: | HPH Ltd 6 KINGSMEAD SQUARE, CITY CENTRE, BATH, BA1 2AB |

I refer to your application for the discharge of condition(s) attached to the above listed building consent dated 03 March 2026. After careful consideration, the following decision has been made:

Conditions submitted for consideration: Conditions 4, 5 and 6 of PL/2025/09622

Condition 4

Notwithstanding the approved drawings, before works commence a construction methodology for the proposed party wall shall be submitted to and approved in writing by the Local Planning Authority. The works shall be carried out in accordance with the approved details.

REASON: In order that the development is undertaken in an acceptable manner and in the interests of preserving the character and appearance of the listed building and its setting.

Condition 5

Notwithstanding the approved drawings, before works commence a methodology for how the new gable wall will be constructed and the existing structure supported shall be submitted to and approved in writing by the Local Planning Authority. The works shall be carried out in accordance with the approved details.

REASON: In order that the development is undertaken in an acceptable manner and in the interests of preserving the character and appearance of the listed building and its setting.

Condition 6

No works shall commence on the windows/ doors until details of all new external window and door joinery have been submitted to and approved in writing by the Local Planning Authority. The submitted details shall include depth of reveal, details of heads, sills and lintels, elevations at a scale of not less than 1:20 and horizontal/vertical frame sections (including sections through glazing bars) at not less than 1:2. The works shall be carried out in accordance with the approved details. The windows and doors should be painted timber.

REASON: In order that the development is undertaken in an acceptable manner, in the interests of preserving the character and appearance of the listed building and its setting.

Details Submitted for Approval:

Joinery Detail DWG NO H/08 - Received 03.03.2026

Construction Method Statement - Received 03.03.2026

Shopfront Window Detail - Received 03.03.2026

Additional Supporting Information - Received 14.04.2026

Additional Supporting Information - Received 29.04.2026

Decision: The details submitted in relation to this condition are approved

Reason for Decision: The details as submitted are considered acceptable and would satisfy the requirement of preserving the character and appearance of the listed building and its setting.

This letter acts as official confirmation and therefore I suggest that you attach it to the decision notice as evidence that you have complied with the requirements of the relevant conditions.

Yours faithfully

Head of Development Management

NOTES:

- Approved Conditions:

If the condition(s) have been discharged, you may proceed with the development in accordance with the approved details. Please ensure that the approved documents or plans are implemented on-site and adhered to as part of the development. It is important to comply with all conditions of the listed building consent to ensure the development remains lawful.

- Refused Conditions:

If the discharge of the condition(s) has been refused, you may submit revised details or further information to address the issues raised as part of a further discharge of the condition’s application. Please ensure that any resubmission adequately addresses the reasons for refusal. Alternatively, you can appeal the Council’s decision (see below for details).

- Partially Discharged Conditions:

If the condition(s) have been partially discharged, the remaining details that are required must be submitted for further consideration. You should provide the necessary documents in accordance with any timeframe or trigger specified in the condition to allow for the full discharge of the condition(s).

Right of Appeal:

If you are aggrieved by the decision to refuse to discharge a condition or if the condition has only been partially discharged, you have the right to appeal the decision to the Planning Inspectorate.

The appeal must be made within 6 months from the date of this decision notice. If the appeal is submitted after this 6-month period, the Planning Inspectorate will only consider it if there are exceptional circumstances.

The procedure for making an appeal is set out under Section 20 of the Planning (Listed Buildings and Conservation Areas) Act 1990, along with the relevant procedural details set out in the Planning (Listed Buildings and Conservation Areas) Regulations 1990. For detailed guidance on how to submit your appeal, please visit the Planning Inspectorate’s website:

https://www.gov.uk/appeal-planning-decision

Please be aware that when appealing against a refusal or failure to discharge a condition, the Planning Inspectorate will only consider whether the submitted details comply with the requirements of the condition and any relevant planning policies. They will not reconsider the original decision to grant listed building consent or the reasonableness of imposing the condition itself.