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	Development Services 
Wiltshire Council
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06 May 2026

Dear Sir/Madam

TOWN AND COUNTY PLANNING ACT 1990 (as amended)
APPROVAL OF DETAILS RESERVED BY CONDITION

	Application No:
	PL/2026/00321

	Proposal:
	Discharge of condition 2 (materials) ,5 (scheme of  discharge of surface water),6 (Disposal of sewage),8 (External lighting scheme) ,9 (Water consumption levels) ,10 (River Avon SAC Mitigation Scheme) for PL/2025/01835 - Remove condition 6 on planning permission 19/04853/FUL which restricts the approved development for holiday accommodation only

	Site Address:
	Barn Adjacent to 81-82 Barn View, Monkton Deverill, Warminster, BA12 7EX

	On Behalf Of:
	Mr & Mrs S & A Dufosee
81-82 Barn View , Monkton Deverill, Warminster, United Kingdom, BA12 7EX



I refer to your application for the discharge of condition(s) attached to the above planning permission. After careful consideration, the following decision has been made:

Conditions submitted for consideration:

	Condition 2:
No development shall commence above ground floor slab level until the exact details and samples of the materials to be used for the external walls and roofs have been submitted to and approved in writing by the Local Planning Authority. Development shall be carried out in accordance with the approved details. 
 
REASON: In order that the development is undertaken in an acceptable manner and in the interests of visual amenity and the character and appearance of the area.

Details Submitted for Approval: Schedule of Condition Details for Approval, photograph if roof tiles, roof tile technical specifications, photograph stonework/ brickwork, photograph of larch boards

Decision: The details submitted in relation to this condition are approved.

Reason for Decision: Use of materials from/ to match the original barn are considered acceptable. 


	Condition 5:
No development shall commence above ground floor slab level until a scheme for the discharge of surface water from the site (including surface water from the access/driveway), incorporating sustainable drainage details, has been submitted to and approved in writing by the Local Planning Authority. The development shall not be first occupied until surface water drainage has been constructed in accordance with the approved scheme. 
 
REASON: In order that the development is undertaken in an acceptable manner and to ensure that the development can be adequately drained.

Details Submitted for Approval: Schedule of Condition Details for Approval, email from Wiltshire council building regulations team advising soakaways acceptable (dated 24 March 2026), proposed site plan scale 1:100 drg no. 18106-50 rev A 

Decision: The details submitted in relation to this condition are approved.

Reason for Decision: Comments from the council’s drainage team are noted however the level of detail submitted, including email from the councils building regulations team advising soakaways are acceptable, are sufficient to discharge the condition relating to this scheme to convert one building to residential use, in an area not susceptible to either ground or surface water flooding.


	Condition 6:
No development shall commence above ground floor slab level until details of the works for the disposal of sewerage including the point of connection to the existing public sewer have been submitted to and approved in writing by the Local Planning Authority. No dwelling shall be first occupied until the approved sewerage details have been fully implemented in accordance with the approved plans.
 
REASON: In order that the development is undertaken in an acceptable manner and to ensure that the proposal is provided with a satisfactory means of drainage and does not increase the risk of flooding or pose a risk to public health or the environment.

Details Submitted for Approval: Schedule of Condition Details for Approval, Wessex Water’s sewer connection approval dated 26th November 2024, underground tank warranty

Decision: The details submitted in relation to this condition are approved. 

Reason for Decision: Foul water connections have been agreed by Wessex Water.


	Condition 8:
No external lighting shall be installed on-site until plans showing the type of light appliance, the height and position of fitting, illumination levels and light spillage in accordance with the appropriate Environmental Zone standards set out by the Institution of Lighting Professionals in their publication “The Reduction of Obtrusive Light” Guidance Note 01/21 (reference GN01/21), have been submitted to and approved in writing by the Local Planning Authority. The approved lighting shall be installed and maintained in accordance with the approved details and no additional external lighting shall be installed.

REASON: In the interests of the amenities of the area and character of the National Landscape and to minimise unnecessary light spillage above and outside the development site.

Details Submitted for Approval: Schedule of Condition Details for Approval, External lighting scheme

Decision: The details submitted in relation to this condition are approved.

Reason for Decision: Minimal external lighting is proposed which is considered acceptable. 


	Condition 9:
The residential development hereby approved shall be designed to ensure it does not exceed 110 litres per person per day water consumption levels (which includes external water usage). Within 3 months of completion of the development a water efficiency report certifying that this standard has been achieved shall be submitted to the Local Planning Authority for its written approval. 
 
REASON:  To ensure compliance with the prevailing mitigation strategy for nutrient neutrality in the water catchment within which this development is located. 

Details Submitted for Approval: Schedule of Condition Details for Approval, revised water efficiency report (email from agent dated 24/3/26)

Decision: The details submitted in relation to this condition are approved.

Reason for Decision: It is considered sufficient information has been submitted to discharge this condition. 


	Condition 10:
The development hereby permitted shall not be occupied until evidence of compliance to the Wiltshire Council River Avon Special Area of Conservation Mitigation scheme, or an alternative approved mitigation package addressing the additional nutrient input arising from the development, has been submitted to, and approved in writing by the Local Planning Authority.

REASON: To accord with the Conservation of Habitats and Species Regulations 2017, and Wiltshire Core Strategy Core Policy 69.

Details Submitted for Approval: s111 agreement with regards phosphorus neutrality mitigation contribution

Decision: The details submitted in relation to this condition are approved.

Reason for Decision: The phosphorus neutrality mitigation contribution has been agreed via legal agreement and paid. 



Please note that in accordance with national planning guidance, discharge of condition applications are procedural in nature and do not require public consultation. While third-party representations may occasionally be received, they are not formally invited and do not form part of the statutory decision-making process. The assessment of this application has been based solely on whether the submitted details satisfy the requirements of the relevant planning condition(s). 

This letter acts as official confirmation and therefore I suggest that you attach it to the decision notice as evidence that you have complied with the requirements of the relevant condition(s).


Yours faithfully 
Head of Development Management

NOTES:

1. Approved Conditions:
If the condition(s) have been discharged, you may proceed with the development in accordance with the approved details. Please ensure that the approved documents or plans are implemented on-site and adhered to as part of the development. It is important to comply with all conditions of the planning permission to ensure the development remains lawful.

2. Refused Conditions:
If the discharge of the condition(s) has been refused, you may submit revised details or further information to address the issues raised as part of a further discharge of the condition’s application. Please ensure that any resubmission adequately addresses the reasons for refusal. Alternatively, you can appeal the Council’s decision (see below for details). 

3. Partially Discharged Conditions:
If the condition(s) have been partially discharged, the remaining details that are required must be submitted for further consideration. You should provide the necessary documents in accordance with any timeframe or trigger specified in the condition to allow for the full discharge of the condition(s).

Right of Appeal:
If you are aggrieved by the decision to refuse to discharge a condition or if the condition has only been partially discharged, you have the right to appeal the decision to the Planning Inspectorate.

The appeal must be made within 6 months from the date of this decision notice. If the appeal is submitted after this 6 month period, the Planning Inspectorate will only consider it if there are exceptional circumstances.

The procedure for making an appeal is set out under Section 78 of the Town and Country Planning Act 1990 (as amended), along with the relevant provisions in the Planning and Compulsory Purchase Act 2004. For detailed guidance on how to submit your appeal, please visit the Planning Inspectorate’s website:
https://www.gov.uk/appeal-planning-decision

Please be aware that the appeal process will focus on whether the submitted details meet the requirements set out in the original planning condition(s) and relevant planning policies.
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