Wiltshire Council Planning Consultation Response

ECOLOGY

| Officer name: | Patrick Olshansky |  |
| --- | --- | --- |
| Date: | 16/05/2026 |  |
| Application No.: | PL/2026/02148 |  |
| Proposal: | Discharge of condition 9 (External Lighting Plan) relating to application PL/2023/05139. |  |
| Site Address: | Forest View, East Grafton, Marlborough, SN8 3DB |  |
| Case Officer: | Lucy Rutter-Dowd |  |

| Condition No. | Further information required by condition | Satisfactorily addressed (Document & Date) |
| --- | --- | --- |
| 9 | No external lighting shall be installed on-site until plans showing the type of light appliance, the height and position of fitting, illumination levels and light spillage in accordance with the appropriate Environmental Zone standards set out by the Institution of Lighting Professionals in their publication “The Reduction of Obtrusive Light” Guidance Note 01/21 (reference GN01/21), have been submitted to and approved in writing by the Local Planning Authority. The approved lighting shall be installed and shall be maintained in accordance with the approved details and no additional external lighting shall be installed. REASON: In the interests of the amenities of the area and to minimise unnecessary light spillage above and outside the development site. |  |

There is habitat along the site boundary and within the garden that are suitable for foraging and commuting bats. PRA stated that any lighting onsite would be in strict accordance with the criteria set out in Section 5. A condition was added to the decision notice to ensure that additional lighting is in line with the PRA and GN08/23 and does not deter bats from suitable foraging and commuting habitat.

Based on the information submitted (number, location and lighting unit datasheet) I am unable to conclude if the lighting will be in line with the PRA recommendations or guidance set out by the Institute of Lighting Professionals (08/23). Further information required.

Final sign off – all matters addressed:

| Ecologist: Patrick Olshansky | Date: |
| --- | --- |