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Wiltshire Council Planning Consultation Response

ECOLOGY
      	
	Officer name: 
	Patrick Olshansky 
	

	Date:
	16/05/2026 20/05/2026
	

	Application   No.:
	PL/2024/11180
	

	Proposal:
	Discharge of condition 5 (Details of bat and bird boxes), 7 (Materials) and 8 (Lighting plan) of PL/2024/11180.
	

	Site Address:
	Land Adjoining, Highfield Rise, Shrewton
	

	Case Officer:
	David Cox
	



	Condition No.
	

Further information required by condition

	Satisfactorily addressed (Document & Date)


	5
	No development above slab level shall commence on site until details of the number, design and locations of bat roosts and nesting opportunities for birds (e.g. bat and bird boxes) have been submitted to and approved in writing by the local authority. The approved details shall be implemented before occupation of the final works. 

REASON: To provide mitigation /enhancement for biodiversity.
	YES – 16/05/2026

Biodiversity Mitigation & Enhancement Strategy 23rd October 2025

	8
	No development above slab level shall commence on site until a lighting plan that includes a Lux Plot, has been submitted to and approved in writing by the local planning authority. The plan will demonstrate that bat habitat (trees, scrub and hedgerows) on the perimeter of the site will remain below 0.5 lux. All lighting provided on site shall be in accordance with the appropriate Environmental Zone standards set out by the Institute of Lighting Engineers in their publication GN01:2021, ‘Guidance for the Reduction of Obtrusive Light’ (ILP, 2021), and Guidance note GN08/23 “Bats and artificial lighting at night”, issued by the Bat Conservation Trust and Institution of Lighting Professionals. 

REASON: In the interests of the amenities of the area and to minimize impacts on biodiversity caused by light spillage to areas above and outside the development site.
	NO – 16/05/2026

Lighting Plan, Wessex Ecology, 21/04/2026

YES - 20/05/2026

Lighting Plan, Wessex Ecology, 18/052026



C8 Lighting 

The following must be corrected.

· Lighting Plan, Wessex Ecology, 21/04/2026
· Table 1: Colour temperature must be less than or equal to 2700Kv

Final sign off – all matters addressed: 
	Ecologist: Patrick Olshansky
	Date: 20/05/2026
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