Wiltshire Council Planning Consultation Response

ECOLOGY

| Officer name: | Patrick Olshansky |  |
| --- | --- | --- |
| Date: | 16/05/2026 20/05/2026 |  |
| Application No.: | PL/2024/11180 |  |
| Proposal: | Discharge of condition 5 (Details of bat and bird boxes), 7 (Materials) and 8 (Lighting plan) of PL/2024/11180. |  |
| Site Address: | Land Adjoining, Highfield Rise, Shrewton |  |
| Case Officer: | David Cox |  |

| Condition No. | Further information required by condition | Satisfactorily addressed (Document & Date) |
| --- | --- | --- |
| 5 | No development above slab level shall commence on site until details of the number, design and locations of bat roosts and nesting opportunities for birds (e.g. bat and bird boxes) have been submitted to and approved in writing by the local authority. The approved details shall be implemented before occupation of the final works. REASON: To provide mitigation /enhancement for biodiversity. | YES – 16/05/2026 Biodiversity Mitigation & Enhancement Strategy 23rd October 2025 |
| 8 | No development above slab level shall commence on site until a lighting plan that includes a Lux Plot, has been submitted to and approved in writing by the local planning authority. The plan will demonstrate that bat habitat (trees, scrub and hedgerows) on the perimeter of the site will remain below 0.5 lux. All lighting provided on site shall be in accordance with the appropriate Environmental Zone standards set out by the Institute of Lighting Engineers in their publication GN01:2021, ‘Guidance for the Reduction of Obtrusive Light’ (ILP, 2021), and Guidance note GN08/23 “Bats and artificial lighting at night”, issued by the Bat Conservation Trust and Institution of Lighting Professionals. REASON: In the interests of the amenities of the area and to minimize impacts on biodiversity caused by light spillage to areas above and outside the development site. | NO – 16/05/2026 Lighting Plan, Wessex Ecology, 21/04/2026 YES - 20/05/2026 Lighting Plan, Wessex Ecology, 18/052026 |

C8 Lighting

The following must be corrected.

- Lighting Plan, Wessex Ecology, 21/04/2026

  - Table 1: Colour temperature must be less than or equal to 2700Kv

Final sign off – all matters addressed:

| Ecologist: Patrick Olshansky | Date: 20/05/2026 |
| --- | --- |