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Wiltshire Council Planning Consultation Response

ECOLOGY
      	
	Officer name: 
	Patrick Olshansky 
	

	Date:
	29/05/2026
	

	Application   No.:
	PL/2026/02408
	

	Proposal:
	Discharge of condition 4 (rooflight/blind), 5 (external lighting), 6 (ground investigation and remediation strategy), 9 (stopping up) and 11 (parking) for application PL/2025/09341
	

	Site Address:
	New Farm, Back Lane, Alderton, Chippenham, SN14 6NW
	

	Case Officer:
	Patrick Olshansky
	



	Condition No.
	

Further information required by condition

	Satisfactorily addressed (Document & Date)


	4
	Notwithstanding the details shown on the approved plans, the rooflights hereby permitted to serve barn 4 shall be installed with glazing designed to minimise upward and outward light emission. a) Details of the proposed rooflight glazing specification, including details which demonstrate light-spill reduction performance, shall be submitted to and approved in writing by the Local Planning Authority prior to installation. b) The approved rooflights shall be installed in accordance with the approved detail and maintained as such thereafter. 

REASON: In the interests of visual amenity, to ensure appropriate and adequate protection and mitigation for ecological receptors and existing important landscape and historic features.
	Further information required

Condition 4 requires rooflights on Barn 4 to use glazing that minimises upward and outward light spill. Specifications submitted (VELUX Heritage conservation roof window, GCL Glazing 01) state light transmittance 0.75, but it is unclear whether this metric demonstrates compliance.




Full planning permission PL/2022/01245 and listed building consent PL/2022/01586 (both approved 21/04/2022) were granted with no ecology comments. Surveys for the earlier permission 18/03475/FUL recorded roosts of common species in Buildings 1, 4 and 6, with low‑level Lesser Horseshoe and Myotis commuting. Conditions on 18/03475/FUL secured an Ecological Mitigation and Enhancement Strategy (EMES) prior to works. Update surveys confirmed a Lesser Horseshoe day roost in Building 4, and a compensation loft was recommended there. The EMES conditions (14 and 15) were reapplied to PL/2022/01245, alongside CMS and CEMP conditions (10 and 19).

Conditions 10, 14 and 19 were discharged under PL/2025/01256 (approved 02/04/2025). The variation PL/2025/09341 (approved 05/02/2026) varied ecology conditions 10 (CMS), 14 (EMES), 15 (EMES) and 19 (CEMP). Conditions 10, 14 and 19 were changed from pre‑commencement to compliance; condition 15 was removed as its requirements were absorbed into condition 14. The variation also added condition 4 (rooflight/blind), which is now being discharged. Development was notified as commenced on 03/03/2025.

For the proposed alterations to Barn 4 (front door, first‑floor window, rooflights): Barn 4 corresponds to Building 9 in the EMES and supports a common pipistrelle day roost. As previously advised, a licence is required for works affecting this and other roost‑supporting buildings. Appendix A of the approved EMES confirms no bat loft or new bat features were proposed for this building, as replacement roosts are provided elsewhere under the licence. The revised plans therefore do not affect agreed mitigation, and Ecology has no objection.

Condition 4 requires rooflights on Barn 4 to use glazing that minimises upward and outward light spill. Specifications submitted (VELUX Heritage conservation roof window, GCL Glazing 01) state light transmittance 0.75, but it is unclear whether this metric demonstrates compliance.

Final sign off – all matters addressed: 
	Ecologist: 
	Date: 
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