Drainage Final Comments.

Hi Steven,

As mentioned in my previous mail, the exceedance flow plan provided by the applicant demonstrates there is no increased flood risk elsewhere, as a result of the development.  We are satisfied with this information and the condition has been satisfied.

Kind Regards. Rahul Dixit M.Tech (Environmental Engineering). Engineer II. Drainage & Land Development. AtkinsRéalis.