ATWORTH ARBORICULTURE LTD

Arboricultural Method Statement

Arboricultural Implications Assessment

Cleeve Rocks,

46, Midford Lane,

Midford,

BA2 7DF.

Prepared for:

Ashley Design Ltd.

Atworth Arboriculture Ltd, 189 Purlpit, Atworth, Wiltshire SN12 8HJ.

Vincentcainey@yahoo.co.uk	01225 708508	07970 467918

Instruction

1.0	Site:		Cleeve Rocks, 46, Midford Lane, Midford, BA2 7DF.

Planning ref: 	N/A

Client: 		Ashley Design Ltd

1.1	Atworth Arboriculture Ltd was instructed to supply an Arboricultural Method statement and Arboricultural Implications Assessment for the proposed development at the site above.

1.2	Local Planning Authority – Wiltshire Council.

1.3       The development proposal seeks to demolish the existing house garage and outbuildings and

Erect a new house.

.

2.0	Arboricultural Method Statement Methodology.

2.1.	The Arboricultural method statement provides the means by which areas of construction 	within or near to the Root Protection Area (RPA) of retained trees can be achieved whilst		minimising the impact of construction activity on nearby trees.

2.2	This Statement is written assuming approved Preliminary Management Recommendations

(if any) to trees stated in the Tree Schedule Table have since been carried out.

2.3	Demolition and the excavation of foundations for any structure on sites where trees are		present may result in root damage and removal. Where root loss is likely to occur, it is		important that a method of demolition and construction that minimises the impact on tree	roots is utilised.

2.4	Copies of this document will be available for inspection on site.

3.0	Tree Protection Measures

3.1	Before the commencement of any works on site, protective fencing will be erected as		specified by the planning conditions to be imposed. The local planning authority will be		notified in writing once the fencing is in place. The position of the fencing is shown on the		appended Tree Protection Plan (TPP), AA/TPP-18.03.26

3.2	The purpose of the protective fencing is to minimize damage to the tree’s roots and the soil 	structure surrounding them. Construction activities such as trenching, changing of levels and 	the storage of spoil and materials is particularly damaging to tree roots, either directly (by 	physical damage) or indirectly (through the destruction of nearby soil structure through 	compaction or ‘capping’ which inhibits further root function)

3.3	The specification of the tree protection fencing is illustrated within BS5837:2012 and is a 	suitable fencing design which should resist light vehicular impact and be difficult to remove 	casually. The British Standard also provides a more practical, less costly fencing specification 	which may be suitable for smaller sites. See Figure 1 and 2 below, which provides an 	example of both RPA protective fencing specifications, in line with BS5837:2012.

3.4	All-weather notices with the words “CONSTRUCTION EXCLUSION ZONE - NO ACCESS” 	should be attached securely to the barriers in prominent places.

Figure 1:

Figure 2 – suitable specifiation for smaller sites:

4.0	Works within RPA.

4.1	No work is proposed within the RPA of any trees that are to be retained.

It appears as if some development is within the RPA of T26. This tree is on a bank 2m higher than the level of the proposed building so no roots will be affected.

4.2	Demolition.

The proposed development requires that  the main property and several outbuildings are demolished. Some of the demolitions, particularly near the garage and the outbuilding to the west, at the edge of the woodland is close to retained trees RPA’s. Care must be taken in these areas not to damage close tree canopies.

Arboricultural Implications Assessment (AIA)

5.0	Above Ground Constraints

5.1	Effects of new buildings on amenity value on or near the site.

The proposed development will only be partially observed from the road as the site is mostly obscured by mature trees and hedges along the edge of Midford Lane. The property is not close to any public footpaths. The amenity value of the local area will not be affected.

5.2	Pruning and felling works to facilitate development.

Trees; 1, 2, 3, 4, 5, 17, 18, 19, 20, 23, 24, 25, 28 and 29 will all need to be removed to facilitate the development. All of these trees are category C. Most are very small ornamental specimens close to the existing property.

6.0	Below Ground Constraints

6.1	No Services are to be routed through the RPA of any tree.

7.0	Precautionary Measures

7.1	It should be the arboriculturist’s duty to monitor site works relating to trees and where 		necessary take photographs to inform the LPA that the works are taking place in accordance 	with LPA planning conditions in relation to trees. It remains the responsibility of the LPA to 	enforce any breach in conditions.

7.2	Any relocated or removed fencing should be replaced as soon as is practicable (once 	approved works within it are complete) and once again treated as the Construction Exclusion 	Zone. Any excavations within the RPA that are to be backfilled should be lightly tamped and 	left proud. Prior to backfilling, retained roots should be surrounded with topsoil or un- 	compacted sharp sand (builders’ sand should not be used because of its high salt content, 	which is toxic to tree roots), or other loose inert granular fill, before soil or other suitable 	material is replaced. This material should be free of contaminants and other foreign objects 	potentially injurious to tree roots.

7.3	Any tree roots whilst exposed should immediately be wrapped or covered to prevent 	desiccation and to protect them from rapid temperature changes. Hessian sacking is 	recommended. Any wrapping should be removed prior to backfilling, which should take place 	as soon as possible.

7.4	The proposed works within the RPA may be justified by implementing soil amelioration 	elsewhere if this is deemed suitable. We also recommend soil amelioration as a sound and 	beneficial tree care strategy. Once all works within the RPA have been completed, a 50- 	100mm layer of 1-year (minimum) seasoned woodchip mulch should be laid down in a circle 	of similar size to the tree’s RPA (where practical) in order to help improve the rhizosphere and 	soil medium in which the tree is growing. This will help ensure the tree’s vitality for the future 	and minimise the adverse effects of damage to the soil structure and any root removal that 	may have taken place during the works.

7.5	If roots are found to be in the way during works, they may be pruned back neatly with an 	appropriate hand saw or bypass secateurs so long as they are below 25mm in diameter. 	Roots larger than this require arboriculturist advice.

7.6	No materials that are likely to have an adverse effect on tree health such as oil, bitumen or 	cement (including cement washings) should be stored and handled well away from the outer 	edge of the RPA. The storage and preparation materials is to be done in a designated area	and is shown as the blue hatched square  on the appended Tree Protection Plan AA/TPP-	30.01.24.

7.7	Fires on site should be avoided. When they are unavoidable, they should not be lit in a 	position where heat could affect foliage or branches. The potential size of fire and wind 	direction should be taken into account when determining its location and it should be attended 	at all times until safe enough to leave. Also take note of statutory litigations in force in the 	area before lighting fires.

7.8	No vehicles or pedestrian traffic will be allowed to enter areas once protected by fencing, 	unless permitted otherwise by the LPA and should be accompanied by the arboriculturist at all 	times.

Vince Cainey BSc

26th March 2026