|  | Development Services Wiltshire Council Tel: 0300 456 0114 Email:developmentmanagement@wiltshire.gov.uk www.wiltshire.gov.uk |
| --- | --- |

23rd June 2026

Dear Sir/Madam

TOWN AND COUNTY PLANNING ACT 1990 (as amended)

APPROVAL OF DETAILS RESERVED BY CONDITION

| Application No: | PL/2026/01682 |
| --- | --- |
| Proposal: | Discharge of conditions 3 (Drainage) and 4 (Slurry Infrastructure Grant) of PL/2025/05302 - The installation of a new covered above ground slurry store |
| Site Address: | Lady Margaret Farmhouse, Wootton Rivers, Marlborough, SN8 4NH |
| On Behalf Of: | Mr Richard Butler EAST WICK FARM, WOOTTON RIVERS, MARLBOROUGH, SN8 4NS |

I refer to your application for the discharge of condition(s) attached to the above planning permission dated 18 March 2026. After careful consideration, the following decision has been made:

Conditions submitted for consideration:

Condition 3:

No development shall commence on site (excluding site clearance and demolition) until a detailed plan demonstrating how overland flow and exceedance routes will be managed within the site has been submitted to and approved in writing by the Local Planning Authority. The plan must include:

- Identification of exceedance flow paths and overland routes during extreme rainfall events

- Measures to safely convey flows through the site without increasing flood risk to surrounding areas

- Integration with the proposed drainage strategy and site topography

- Evidence that the proposed management strategy will not result in increased flood risk elsewhere

The development shall then be carried out in accordance with the approved details and be maintained as such for the lifetime of the development.

REASON: The application contained insufficient information to enable this matter to be considered prior to granting planning permission and the matter is required to be agreed with the Local Planning Authority before development commences in order that the development is undertaken in an acceptable manner, in the interests of not increasing flood risk.

Details Submitted for Approval: Planning Statement *SC1247* (Received 10/03/2026) Decision: The details submitted in relation to this condition are approved. Reason for Decision: In relation to drainage’s consultation response, the LLFA is satisfied by the information provided, which confirms that overflow rainfall can be managed using a circular soakaway around the slurry store. The submitted drainage details demonstrate that overland flow and exceedance routes have been appropriately addressed in accordance with the condition's requirements. The information confirms that runoff generated during extreme rainfall events would be managed through a suitably designed soakaway system with sufficient capacity to accommodate extreme rainfall volumes. The proposed measures in the planning statement confirm that they would safely control and infiltrate surface water on site and would not increase flood risk to surrounding land or properties. The proposal is welcomed, and sufficient details are provided to address Condition 3. Therefore, the plans are considered acceptable in the interests of drainage. Condition 4: The development hereby permitted shall not commence until evidence of a successful Slurry Infrastructure Grant application has been submitted to, and approved in writing by the Local Planning Authority.

REASON: To accord with the Conservation of Habitats and Species Regulations 2017, and Wiltshire Core Strategy Core Policy 69.

Details Submitted for Approval:

Planning Statement *SC1247* (Received 10/03/2026)

Location Plan *SC1247 01* (Received 10/03/2026)

Decision: The details submitted in relation to this condition are approved.

Reason for Decision:

In relation to the ecology officer’s response, they are satisfied that the document listed above contains a copy of the grant funding agreement from Natural England, which contains the correct references and tank size/details, in line with that approved. Therefore, the grant application details are considered acceptable in the interests of conservation of habitats and species.

Please note that in accordance with national planning guidance, discharge of condition applications are procedural in nature and do not require public consultation. While third-party representations may occasionally be received, they are not formally invited and do not form part of the statutory decision-making process. The assessment of this application has been based solely on whether the submitted details satisfy the requirements of the relevant planning condition(s).

This letter acts as official confirmation and therefore I suggest that you attach it to the decision notice as evidence that you have complied with the requirements of the relevant condition(s).

Yours faithfully

Head of Development Management

NOTES:

- Approved Conditions:

If the condition(s) have been discharged, you may proceed with the development in accordance with the approved details. Please ensure that the approved documents or plans are implemented on-site and adhered to as part of the development. It is important to comply with all conditions of the planning permission to ensure the development remains lawful.

- Refused Conditions:

If the discharge of the condition(s) has been refused, you may submit revised details or further information to address the issues raised as part of a further discharge of the condition’s application. Please ensure that any resubmission adequately addresses the reasons for refusal. Alternatively, you can appeal the Council’s decision (see below for details).

- Partially Discharged Conditions:

If the condition(s) have been partially discharged, the remaining details that are required must be submitted for further consideration. You should provide the necessary documents in accordance with any timeframe or trigger specified in the condition to allow for the full discharge of the condition(s).

Right of Appeal:

If you are aggrieved by the decision to refuse to discharge a condition or if the condition has only been partially discharged, you have the right to appeal the decision to the Planning Inspectorate.

The appeal must be made within 6 months from the date of this decision notice. If the appeal is submitted after this 6 month period, the Planning Inspectorate will only consider it if there are exceptional circumstances.

The procedure for making an appeal is set out under Section 78 of the Town and Country Planning Act 1990 (as amended), along with the relevant provisions in the Planning and Compulsory Purchase Act 2004. For detailed guidance on how to submit your appeal, please visit the Planning Inspectorate’s website:

https://www.gov.uk/appeal-planning-decision

Please be aware that the appeal process will focus on whether the submitted details meet the requirements set out in the original planning condition(s) and relevant planning policies.