Wiltshire Council Planning Consultation Response

ECOLOGY

| Officer name: | Patrick Olshansky |  |
| --- | --- | --- |
| Date: | 06/07/2026 |  |
| Application No.: | PL/2026/03632 |  |
| Proposal: | Discharge of conditions 5 (CCTV Drainage Survey) and 10 (External Lighting Details) of PL/2025/03325. |  |
| Site Address: | RAF Colerne, Donocombe Lane, Wiltshire, Colerne |  |
| Case Officer: | Lucie Turner |  |

| Condition No. | Further information required by condition | Satisfactorily addressed (Document & Date) |
| --- | --- | --- |
| 10 | No external light fixture or fitting will be installed within the application site unless details of existing and proposed new lighting have been submitted to and approved by the Local Planning Authority in writing. The submitted details will demonstrate how the proposed lighting will impact on bat habitat compared to the existing situation. The plans will be in accordance with the appropriate Environmental Zone standards set out by the Institution of Lighting Professionals (ILP) Guidance Notes on the Avoidance of Obtrusive Light (GN 01/2021) and Guidance note GN08/23 “Bats and artificial lighting at night”, issued by the Bat Conservation Trust and Institution of Lighting Professionals. REASON: To avoid illumination of habitat used by bats. | NO – See comment below. APPENDIX B – EXTERNAL LIGHTING (Electrical Services External Services Layout) of Condition Discharge Report for PL/2025/03325. 05 June 2026. RIDGE |

The applicant’s statement that fixture selection aims to minimise light pollution while maintaining safety is noted, but the fixture types and positions alone are insufficient to demonstrate compliance with Condition 10 and GN08/23. The submission must show how the proposed lighting will affect bat habitat, including the proposed hibernation roost in the bunker, compared with the existing baseline. In line with GN08/23, this should be demonstrated using horizontal and vertical illuminance (lux) plots.

Final sign off – all matters addressed:

| Ecologist: Patrick Olshansky | Date: |
| --- | --- |