Ref. 2026/03383 Discharge of Conditions 
Site: Lime Kiln House, Lime Kiln, Royal Wootton Bassett, Swindon, SN4 7HF
[bookmark: _Hlk155787652]Proposal: Discharge of conditions 
3 (Extension cladding details) 
4 (Details of all new external window and door joinery and/or metal framed glazing) of PL/2025/03680 - Internal alterations to the existing radio studio and a single storey extension to the east of the radio studio creating an entrance to the newly formed service room.

Ref. 2026/03101 Discharge of conditions 
3 (Arboricultural Method Statement ), 
4 (Extension cladding details) 
5 (Details of all new external window and door joinery and/or metal framed glazing) of PL/2025/03274 - Internal alterations to the existing radio studio and a single storey extension to the east of the radio studio creating an entrance to the newly formed service room.
________________________________________________________________________

Scope of comments: the following comments relate to the built historic environment.  

Site Description:  
Lime Kiln House is located on the north edge of Royal Wootton Bassett. Historically outside of the village it has been subsumed by 20th century development to High Street and Lime Kiln. In the late 20th century Lime Kiln House became a radio station with a new studio block constructed in the garden area and linked to the 19th century addition to the north end of the house.

It is late 17th century house, 2 storey with attic and cellar. The L shaped plan building has Flemish bond brick elevations with stone quoins on a stone plinth. The primary elevations have 12 pane sash windows with stone architraves and gauged brick arches with stone keys. The roof is stone slate clad with dormers. There is a late 18th century rubble stone extension to the east wing. The entrance is a six panelled door within a stone architrave over 2 steps under a flat canopy on consoles. 

The interior has been altered but includes a readable plan form, good staircase with turned balusters, and stone moulded fireplaces with some room panelling.  

Externally there is a red brick walled garden.  

The Radio Station building is attached to the listed building and subject of this condition discharge application is of architectural interest designed by Architects Nicholas Grimshaw and Partners a prominent British architectural practice responsible for several celebrated High Tech buildings including London’s Waterloo International Railway Station. Lords Cricket Ground and The Eden Project.

In a high-tech modern style. It is clad in fibreglass panels with incised louvres to head of windows with smooth finish with X symbol above. The corners are curved panels with same motifs. It has a central glazed atrium with former studio rooms either side.

The is a mostly glazed admin link between the Radio Station Building and the rear of Lime Kiln House. 

The property is located about 100m north of the boundary of Wootton Bassett Conservation Area. 

Heritage Assets: 
Lime Kiln House, Lime Kiln, Royal Wootton Basset grade II  
Relevant Planning History: 
PL/2025/03680 - Internal alterations to the existing radio studio and a single storey extension to the east of the radio studio creating an entrance to the newly formed service room.

PL/2025/03274 - Internal alterations to the existing radio studio and a single storey extension to the east of the radio studio creating an entrance to the newly formed service room

The Proposal
Discharge of condition No. 3 Ref. 2026/03383 Extension cladding details of PL/2025/03680 - Internal alterations to the existing radio studio and a single storey extension to the east of the radio studio creating an entrance to the newly formed service room.

Condition 3. No development shall commence on site until details of the extension cladding to be used on the development have been submitted to and approved in writing by the Local Planning Authority. Development shall be carried out in accordance with the approved details. 

REASON: To ensure the decision of the local planning authority complies with the provisions of s.16 of the Planning (Listed Buildings and Conservation Areas) Act 1990 (as amended) and in the interests of preserving the significance of the grade II listed building and its setting in accordance with the aims of Core Policies 57 and 58 of the Wiltshire Core Strategy, policy 7 of the Royal Wootton Bassett Neighbourhood Development Plan and the planning policy advice of Chapter 16 of the National Planning Policy Framework.

Discharge of condition No. 4 Ref. 2026/03383  (Details of all new external window and door joinery and/or metal framed glazing) of PL/2025/03680 - Internal alterations to the existing radio studio and a single storey extension to the east of the radio studio creating an entrance to the newly formed service room.

Condition 4 No works shall commence on site until details of all new external window and door joinery and/or metal framed glazing have been submitted to and approved in writing by the Local Planning Authority. The submitted details shall include depth of reveal, details of heads, sills and lintels, elevations at a scale of not less than 1:10 and horizontal/vertical frame sections (including sections through glazing bars) at not less than 1:2. The works shall be carried out in accordance with the approved details. 

REASON: To ensure the decision of the local planning authority complies with the provisions of s.16 of the Planning (Listed Buildings and Conservation Areas) Act 1990 (as amended) and in the interests of preserving the significance of the grade II listed building and its setting in accordance with the aims of Core Policies 57 and 58 of the Wiltshire Core Strategy, policy 7 of the Royal Wootton Bassett

Discharge of condition Ref. No. 4 Ref. 2026/03101 Extension cladding details of PL/2025/03274 - Internal alterations to the existing radio studio and a single storey extension to the east of the radio studio creating an entrance to the newly formed service room.

4 No development shall commence on site until details of the extension cladding to be used on the development have been submitted to and approved in writing by the Local Planning Authority. Development shall be carried out in accordance with the approved details. 

REASON: To ensure the decision of the local planning authority complies with the provisions of s.66 of the Planning (Listed Buildings and Conservation Areas) Act 1990 (as amended) and in the interests of preserving the significance of the grade II listed building and its setting in accordance with the aims of Core Policies 57 and 58 of the Wiltshire Core Strategy, policy 7 of the Royal Wootton Bassett Neighbourhood Development Plan and the planning policy advice of Chapter 16 of the National Planning Policy Framework.

Discharge of condition Ref. No. 5 Ref. 2026/03101 Details of all new external window and door joinery and or metal framed glazing - PL/2025/03274 - Internal alterations to the existing radio studio and a single storey extension to the east of the radio studio creating an entrance to the newly formed service room.

No. 5 No works shall commence on site until details of all new external window and door joinery and/or metal framed glazing have been submitted to and approved in writing by the Local Planning Authority. The submitted details shall include depth of reveal, details of heads, sills and lintels, elevations at a scale of not less than 1:10 and horizontal/vertical frame sections (including sections through glazing bars) at not less than 1:2. The works shall be carried out in accordance with the approved details. 

REASON: To ensure the decision of the local planning authority complies with the provisions of s.66 of the Planning (Listed Buildings and Conservation Areas) Act 1990 (as amended) and in the interests of preserving the significance of the grade II listed building and its setting in accordance with the aims of Core Policies 57 and 58 of the Wiltshire Core Strategy, policy 7 of the Royal Wootton Bassett Neighbourhood Development Plan and the planning policy advice of Chapter 16 of the National Planning Policy Framework

Assessment: 
Discharge of condition No. 3 Ref. 2026/03383 - The information provided is a drawing /photomontage Drawing Ref. Project 205 Drawing Number: PL700 Drawing Scale: 1:50 Paper Size: A1 and Drawing Ref. 205 Drawing Number: PL702 Drawing Scale 1:2 and 1:10 @A1 Proposed Externa Door Details – Vertical Section 

The details propose a Rock panel Stone cladding in the colour Quartz Grey on the extension to the former GWA Radio Studio at Lime Kiln House. The proposed panels has a texture that is similar to the weathered appearance of the existing lighter grey panels on the Studio Building. These cladding details are considered acceptable. 

Discharge of condition No. 4 Ref. 2026/03383 4 (Details of all new external window and door joinery and/or metal framed glazing) – The information provided is a drawing of door elevation and horizontal section Drawing Ref. 205 Drawing Number: PL701 Current Revision Letter: Drawing Scale: Section 1:2 and elevation 1:10 @ A1. and Drawing Ref. 205 Drawing Number: PL702 Drawing Scale 1:2 and 1:10 @A1 Proposed Externa Door Details – Vertical Section and rooflights vertical section Dwg Ref. 205 Drawing Number: PL703 Drawing Scale: 1:5 Paper Size: A1 and Proposed Rooflight Elevation Detail Drawing Ref.205 Drawing Number: PL704 Drawing Scale: 1:20 Paper Size: A1

The details propose a PPC Aluminium external door with side light – Colour Anthracite Grey RAL: 7016   The door details for the extension are considered acceptable. 

The proposed Rooflights to the Studio roof are double glazed, Upvc in Anthracite Grey Roof light - to match the pitch of the existing roof light. All glazing to be solar controlled, clear glass It includes a new blockwork upstand to ensure the roof light starts at a minimum of 150mm from the roof covering. The rooflight details for the Studio are considered acceptable. 

Discharge of condition No. 4 Ref. 2026/03101 - The information provided is a drawing /photomontage Drawing Ref. Project 205 Drawing Number: PL700 Drawing Scale: 1:50 Paper Size: A1

The details propose a Rock panel Stone cladding in the colour Quartz Grey on the extension to the former GWA Radio Studio at Lime Kiln House. The proposed panels has a texture that is similar to the weathered appearance of the existing lighter grey panels on the Studio Building. These cladding details are considered acceptable. 


Discharge of condition Ref. No. 5 Ref. 2026/03101 - The information provided is a drawing of door elevation and horizontal section Drawing Ref. 205 Drawing Number: PL701 Current Revision Letter: Drawing Scale: Section 1:2 and elevation 1:10 @ A1. and Drawing Ref. 205 Drawing Number: PL702 Drawing Scale 1:2 and 1:10 @A1 Proposed Externa Door Details – Vertical Section and Rooflight vertical section Dwg Ref. 205 Drawing Number: PL703 Drawing Scale: 1:5 Paper Size: A1 and Proposed Rooflight Elevation Detail Drawing Ref.205 Drawing Number: PL704 Current Revision Letter: Drawing Scale: 1:20 Paper Size: A1


The details propose a PPC Aluminium external door with side light – Colour Anthracite Grey RAL: 7016   The door details for the extension are considered acceptable. 

The proposed Rooflights to the Studio roof are double glazed, Upvc in Anthracite Grey Roof light - to match the pitch of the existing roof light. All glazing to be solar controlled, clear glass It includes a new blockwork upstand to ensure the roof light starts at a minimum of 150mm from the roof covering. The rooflight details for the Studio are considered acceptable. 

[bookmark: _Hlk79578624]Summary: The NPPF confirms that when considering the impact of a proposed development on the significance of a designated heritage asset, great weight should be given to the asset’s conservation (and the more important the asset, the greater the weight should be). It makes clear that any harm to a designated heritage asset requires clear and convincing justification. 

Ref. 2026/03383 Discharge of Conditions 
3 (Extension cladding details) – Condition can be discharged 
4 (Details of all new external window and door joinery and/or metal framed glazing) -Condition can be discharged

Ref. 2026/03101 Discharge of conditions  
4 (Extension cladding details) - Condition can be discharged
5 (Details of all new external window and door joinery and/or metal framed glazing). - Condition can be discharged

