|  | Development Services Wiltshire Council Tel: 0300 456 0114 Email:developmentmanagement@wiltshire.gov.uk www.wiltshire.gov.uk |
| --- | --- |

15 July 2026

Dear Sir/Madam

TOWN AND COUNTY PLANNING ACT 1990 (as amended)

APPROVAL OF DETAILS RESERVED BY CONDITION

| Application No: | PL/2025/08982 |
| --- | --- |
| Proposal: | Discharge of condition 11 of PL/2025/03125 (Drainage Strategy Report) |
| Site Address: | Ramsbury Manor, Ramsbury, Marlborough, SN8 2RG |
| On Behalf Of: | The Ramsbury Manor Foundation c/o Agent |

I refer to your application for the discharge of condition attached to the above planning permission dated 12 November 2025. After careful consideration, the following decision has been made:

Condition submitted for consideration:

Condition 11: No construction shall commence on site until a scheme for the discharge of surface water (including surface water from the access and car park areas), incorporating sustainable drainage details and including clear arrangements are in place for ownership and ongoing maintenance of any sustainable drainage features, has been submitted to and approved in writing by the local planning authority. The development shall not be first brought into use until surface water drainage has been constructed in accordance with the approved scheme. Reason: The matter is required to be agreed with the Local Planning Authority before development commences in order that the development is undertaken in an acceptable manner, to ensure that the development can be adequately drained in a sustainable and environmentally led manner. Details Submitted for Approval: - Condition 11 - Additional Drainage Information in response to Drainage comments - Drainage Strategy Report - Report and Appendix A - Drainage Strategy Report - Appendices B-I Decision: The details submitted in relation to this condition are approved. Reason for Decision: The Drainage Engineer initially raised concerns with the submitted drainage details and requested further information to demonstrate compliance with the relevant drainage standards. In response, the applicant submitted additional drainage information, including updated drainage strategy details, water quality and pollution control measures, infiltration testing results, groundwater assessment information, and maintenance arrangements. Following review of this additional information, the Drainage Engineer is satisfied that the outstanding drainage requirements have been addressed. The Drainage Engineer is satisfied that the drainage scheme complies with the relevant LLFA standards and that the information requested under the condition has now been provided. Accordingly, no objection is raised, and the condition can be discharged. Note: It is acknowledged that the Drainage Engineer's recommendation dated 30 June 2026 refers to the discharge of "Condition 13". However, the proposal description, the condition quoted within the consultation response, and the subsequent assessment all clearly relate to the discharge of Condition 11 of planning permission PL/2025/03125. The Case Officer is therefore satisfied that the reference to Condition 13 in the recommendation is a typographical error and that the Drainage Engineer's response supports the discharge of Condition 11.

Please note that in accordance with national planning guidance, discharge of condition applications are procedural in nature and do not require public consultation. While third-party representations may occasionally be received, they are not formally invited and do not form part of the statutory decision-making process. The assessment of this application has been based solely on whether the submitted details satisfy the requirements of the relevant planning condition.

This letter acts as official confirmation and therefore I suggest that you attach it to the decision notice as evidence that you have complied with the requirements of the relevant condition.

Yours faithfully

Head of Development Management

NOTES:

- Approved Conditions:

If the condition(s) have been discharged, you may proceed with the development in accordance with the approved details. Please ensure that the approved documents or plans are implemented on-site and adhered to as part of the development. It is important to comply with all conditions of the planning permission to ensure the development remains lawful.

- Refused Conditions:

If the discharge of the condition(s) has been refused, you may submit revised details or further information to address the issues raised as part of a further discharge of the condition’s application. Please ensure that any resubmission adequately addresses the reasons for refusal. Alternatively, you can appeal the Council’s decision (see below for details).

- Partially Discharged Conditions:

If the condition(s) have been partially discharged, the remaining details that are required must be submitted for further consideration. You should provide the necessary documents in accordance with any timeframe or trigger specified in the condition to allow for the full discharge of the condition(s).

Right of Appeal:

If you are aggrieved by the decision to refuse to discharge a condition or if the condition has only been partially discharged, you have the right to appeal the decision to the Planning Inspectorate.

The appeal must be made within 6 months from the date of this decision notice. If the appeal is submitted after this 6 month period, the Planning Inspectorate will only consider it if there are exceptional circumstances.

The procedure for making an appeal is set out under Section 78 of the Town and Country Planning Act 1990 (as amended), along with the relevant provisions in the Planning and Compulsory Purchase Act 2004. For detailed guidance on how to submit your appeal, please visit the Planning Inspectorate’s website:

https://www.gov.uk/appeal-planning-decision

Please be aware that the appeal process will focus on whether the submitted details meet the requirements set out in the original planning condition(s) and relevant planning policies.