Wiltshire Council Planning Consultation Response

ECOLOGY

| Officer name: | Patrick Olshansky |  |
| --- | --- | --- |
| Date: | 17/07/2026 |  |
| Application No.: | PL/2026/02031 |  |
| Proposal: | Discharge of condition 3 (External materials), 4 (Lighting), 5 (Hard and soft landscaping), 7 (Drainage strategy), 8 (Disposal sewerage works) and 9 (Construction Environmental Management Plan) of PL/2025/02986 |  |
| Site Address: | Silverwood School, Rowde, Devizes, SN10 2QQ |  |
| Case Officer: | Hannah Brown |  |

| Condition No. | Further information required by condition | Satisfactorily addressed (Document & Date) |
| --- | --- | --- |
| 4 | No external light fixture or fitting will be installed within the application site unless details of existing and proposed new lighting have been submitted to and approved by the Local Planning Authority in writing. The submitted details will demonstrate how the proposed lighting will impact on bat habitat compared to the existing situation. The plans will be in accordance with the appropriate Environmental Zone standards set out by the Institution of Lighting Professionals (ILP) Guidance Notes on the Avoidance of Obtrusive Light (GN 01/2021) and Guidance note GN08/23 “Bats and artificial lighting at night”, issued by the Bat Conservation Trust and Institution of Lighting Professionals. REASON: To avoid illumination of habitat used by bats. | NO – See comments below. |
| 9 | Prior to the commencement of works, including demolition, ground works/excavation, site clearance, vegetation clearance and boundary treatment works, a Construction Environmental Management Plan (CEMP) shall be submitted to the local planning authority for approval in writing. The Plan shall provide details of the avoidance, mitigation and protective measures to be implemented before and during the construction phase, including but not necessarily limited to, the following: a) Identification of ecological protection areas/buffer zones and tree root protection areas and details of physical means of protection, e.g. exclusion fencing. b) Working method statements for protected/priority species, such as nesting birds and reptiles. c) Mitigation strategies already agreed with the local planning authority prior to determination, such as for great crested newts, dormice or bats; this should comprise the pre-construction/construction related elements of strategies only. d) Work schedules for activities with specific timing requirements in order to avoid/reduce potential harm to ecological receptors; including details of when a licensed ecologist and/or ecological clerk of works (ECoW) shall be present on site. e) Key personnel, responsibilities and contact details (including Site Manager and ecologist/ECoW). Development shall be carried out in strict accordance with the approved CEMP. REASON: To ensure adequate protection and mitigation for ecological receptors prior to and during construction, and that works are undertaken in line with current best practice and industry standards and are supervised by a suitably licensed and competent professional ecological consultant where applicable. | NO – See comments below. |

Condition 4

I have reviewed the Bats and Lighting Specifications and Proposed External Light Fitting documents (uploaded 26 March 2026). While both documents set out the overarching principles for an ecologically sensitive lighting strategy, they do not demonstrate how the proposed lighting will affect bat habitat compared with the existing baseline. The Bats and Lighting Specifications itself states that lux contour plans should be produced by a qualified lighting engineer, based on the final number, design, and locations of proposed fittings.

To meet the condition requirements, the further information recommended in the Bats and Lighting Specifications must now be provided. Lux contour modelling should be produced using the proposed lighting layout, and calculations should exclude any mitigation unless it is inbuilt to the fitting design.

Condition 9

The CEMP (uploaded 26 Mar 2026) does not directly address or fulfil the condition criteria (a-e). Further additions are required.

Final sign off – all matters addressed:

| Ecologist: Patrick Olshansky | Date: |
| --- | --- |