APPLICATION FOR PRIOR NOTIFICATION - AGRICULTURAL

CASE OFFICER REPORT

| APPLICATION REFERENCE: | PL/2026/04792 |
| --- | --- |
| APPLICATION TYPE: | Prior notification: Building |
| SITE ADDRESS: | Land at Freith , Devizes, Wilts |
| DEVELOPMENT DESCRIPTION: | Agricultural storage building of standard agricultural construction. |
| RECOMMENDATION: | Prior Approval Not Required |

## SITE DESCRIPTION/CONTEXT

The application relates to an area of pasture land in Freith, near Devizes, which extends to approximately 21.08 hectares. There have been 3 previous prior notification applications which has resulted in the erection of a series of 3 barns plus an additional separate barn. It is to this separate barn (PL/2026/01710) that the current barn is proposed as an extension.

PROPOSAL

The proposal is to erect an agricultural building as an extension to an existing agricultural building for the purposes of storing fodder.

The proposed building will be 12.19m x 9.12m, with a ridge height of 3.96m and eaves of 2.74m.

The building will be of standard agricultural construction being of steel portal frame construction with cement fibre roof in natural colour. Elevations shall comprise concrete panels with Olive Green (RAL6003) steel box section sheeting above.

The sum total of buildings (including the proposal) erected or proposed on the site falls below the 1500m2 limit imposed by Class A.

## RELEVANT PLANNING HISTORY

Proposal / Summary

PL/2024/02081 - Prior notification: Building Decision - Prior Approval Not Required Date: 11/3/2024 – Proposed agricultural storage building

PL/2025/00424 - Prior notification: Building Decision - Prior Approval Not Required Date: 6/2/2025 – Agricultural storage building of standard agricultural construction

PL/2026/01710 - Prior notification: Building Decision - Prior Approval Not Required Date: 10/4/2026 – Agricultural storage building of standard agricultural construction.

PL/2026/04792 - Prior notification: Building – Agricultural storage building of standard agricultural construction.

RELEVANT LEGISLATION, POLICY AND GUIDANCE

This application is assessed under Article 3 of the Town and Country Planning (General Permitted Development) (England) Order 2015 (as amended), which grants planning permission for certain types of development described in Schedule 2 of the Order. The grant of permission is subject to the limitations, conditions, and provisions set out within the relevant Classes of permitted development.

Under Schedule 2, Part 6, Class A of the Town and Country Planning (General Permitted Development) (England) Order 2015 (as amended), certain types of agricultural development may be permitted, including:

- The erection, extension, or alteration of a building;

- The formation or alteration of a private way;

- Excavations or the deposit of waste material (where the relevant area exceeds 0.5 hectares);

- The placing or assembly of a tank in any waters.

Where such development is proposed, the developer is required to apply to the local planning authority for a determination as to whether prior approval is needed. This prior approval process is limited in scope and relates only to the following matters:

- The siting, design, and external appearance of the building;

- The siting and means of construction of the private way;

- The siting of the excavation or deposit;

- The siting and appearance of the tank.

## ASSESSMENT

Does the Proposal Qualify as Permitted Development?

Having completed the detailed assessment checklist at Appendix 1 of this report, it is concluded that the proposed development qualifies as permitted development under Schedule 2, Part 6, Class A of the Town and Country Planning (General Permitted Development) (England) Order 2015 (as amended), and the assessment may now proceed to consider the siting, design, and external appearance of the development as required by the GPDO.

Is Prior Approval Required?

No elevation or floor plan has been provided, but it is understood that it is not a requirement in determining an application of this type. Furthermore it is considered that the Planning Statement clearly describes the proposals.

The building is proposed to be constructed from materials that are generally considered appropriate for agricultural buildings, namely concrete block and box steel walls with a fibre cement roof. This form of construction has already been utilised on the wider site. It is therefore considered that the design and external appearance of the building would appear appropriate.

The extension will stand on the western side of the existing barn, will be screened from  the public domain and is considered to be in a appropriate location, being chosen to minimise visual impact in a location where it will largely screened from view by existing buildings, existing trees and vegetation. As there are existing agricultural building on the wider site and in the wider landscape it is considered that the siting of the building is considered acceptable.

CONCLUSION

The proposed development has been assessed against the provisions, limitations, and conditions set out in Schedule 2, Part 6, Class A of the Town and Country Planning (General Permitted Development) (England) Order 2015 (as amended). Based on the submitted plans, supporting information, and the findings of this report, it is concluded that the proposal complies with the criteria for permitted development, and therefore falls within the scope of Class A. As such, the local planning authority has considered whether prior approval is required in relation to the siting, design, and external appearance of the development. In this case, it is concluded that prior approval is not required, and the development may proceed in accordance with the submitted details.

RECOMMENDATION:

That Prior Approval is NOT required.

| A |  |  |
| --- | --- | --- |
| APPENDIX 1 – PERMITTED DEVELOPMENT CHECKLIST |  |  |
|  | Permitted Development | Yes / No |
| A | Does the proposal involve the carrying out, on agricultural land forming part of an agricultural unit of 5 hectares or more, of either: (a) works for the erection, extension, or alteration of a building; or (b) any excavation or engineering operations, which are reasonably necessary for the purposes of agriculture within that unit? | Yes |
| Criteria (A.1) – Development not permitted by Class A: |  |  |
| (a) | Is the development proposed to be carried out on a separate parcel of land forming part of the agricultural unit that is less than 1 hectare in area? | No |
| (b) | Would the development consist of the erection or extension of any agricultural building on an established agricultural unit where development under Class Q or Class S of Part 3 (changes of use) has been carried out within the last 10 years? | No |
| (c) | Would the development consist of, or include, the erection, extension, or alteration of a dwelling? | No |
| (d) | Would it involve the provision of a building, structure or works not designed for agricultural purposes? | No |
| (e)(i) | Would the ground area covered by any works or structures (excluding fences) for accommodating livestock or plant/machinery arising from engineering operations exceed 1,000 square metres? | No |
| (e)(ii) | Would the ground area of any building erected, extended, or altered under Class A exceed 1,500 square metres? | No |
| (f) | Is any part of the proposed building, structure, or works within 3 kilometres of the perimeter of an aerodrome and would exceed 3 metres in height? | No |
| (g) | Is any part of the proposed building, structure, or works not within 3 kilometres of an aerodrome and would exceed 12 metres in height? | No |
| (h) | Would any part of the development be within 25 metres of a metalled part of a trunk road or classified road? | No |
| (i) | Would the development consist of, or include, the erection or construction of, or works to, a building, structure, or excavation used or intended for the accommodation of livestock or storage of slurry/sewage sludge, and be within 400 metres of the curtilage of a protected building? | No |
| (j) | Would the development involve excavations or engineering operations on or over article 2(4) land that are connected with fish farming? | No |
| (k)(i) | Would any building for storing fuel for or waste from a biomass boiler or anaerobic digestion system be used for storing waste not produced by that system or fuel not produced on land within the unit and be within 400 metres of the curtilage of a protected building? | No |
| (k)(ii) | Would any building for storing fuel for or waste from a biomass boiler or anaerobic digestion system and be within 400 metres of the curtilage of a protected building? | No |
| (l) | Would the erection or extension of a building be carried out on land or a building that is, or is within the curtilage of, a scheduled monument? | No |