| Victoria Blackmore Wiltshire Council | Reference: PA-0009657/01 LPA reference: PL/2026/04600 24 August 2026 | Our ref: [goes here] Your ref: [goes here] Date: [goes here] |  |  |
| --- | --- | --- | --- | --- |

Dear Victoria,

Discharge of Conditions 5 (Construction and Environmental Management Plan), 7 (Arboricultural Method Statement), 8 (Scheme for the Discharge of Surface Water) & 9 (Scheme for the Disposal of Foul Water) of Planning Application 20/03876/OUT (approved at appeal)

Land to the east of Church View, Sutton Benger, Chippenham, Wiltshire, SN15 4FD

Thank you for consulting the Environment Agency on the above application.

We are only commenting on the conditions which we requested/ are within our remit, this is condition 5, condition 8 and condition 9.

Condition 5 - Construction and Environmental Management Plan – Object to discharge

We have reviewed the submitted CEMP (written by EG Carter & Co Ltd) we object to the discharge of this condition as further clarification is required on how suspended solids will be removed/settled out from the surface water run-off during construction works. As well as what silt mitigation will be implemented for the site and what wheel-wash facility will be available.

Condition 8 - Scheme for the Discharge of Surface Water and Condition 9 – Scheme for disposal of Foul Water – Object to discharge of both conditions

We object to the discharge of these conditions. The submitted drainage plans are not supported by a drainage assessment or statement and as a result the proposed methodologies for the disposal of surface water and foul water are unclear.  There is mention of an agreement being reached with Wessex Water but it is not clear exactly what this is for.  We are unable to recommend that these conditions be discharged until we are clear on what is being proposed.

Note to LPA

Should you require any additional information, or have any queries regarding our response please get in touch.

Yours sincerely,

Lindsay Grant

Planning Advisor (Wessex - Sustainable Places)

National Contact Centre: 03708 506 506

wx.sp@environment-agency.gov.uk

Rivers House, Sunrise Business Park, Higher Shaftesbury Road, Blandford Forum, Dorset DT11 8ST