PROPOSED 1.8m × 1.0m × 1.0m CRATE SOAKAWAY
Approx. 1.71m³ effective storage capacity based on 95% void ratio.
Soakaway to receive surface water from front roof gutters only.
Rear roof drainage to connect to existing drainage system.
Soakaway to be wrapped in permeable geotextile and surrounded by suitable free-draining material where required.
Locate minimum 5m from building.
Connect via 100mm diameter perforated/solid drainage pipe as appropriate.