The Town and Country Planning Act 1990

Approval of Variation of Conditions

Application Reference Number: PL/2026/01316

Decision Date: 17/09/2026

| Applicant: | Mr M Griffin 27 Widham Barn Widham, Purton, Wiltshire, SN5 4EW |
| --- | --- |
| Particulars of Development: | Vary Condition 2 to PL/2024/01523 Barn conversion re-design - Proposed Extension to approve barn conversion with associated ancillary development comprising the erection of a new garage outbuilding and landscaping |
| At: | Widham Barn, 27 Widham, Purton, Swindon, SN5 4EW |

In pursuance of its powers under the above Act, the Council hereby GRANT PLANNING PERMISSION for variation or non-compliance with a condition or conditions imposed on an earlier permission in accordance with the application and plans submitted by you.

In accordance with policy DM3 (1)(a) of the National Planning Policy Framework, Wiltshire Council has worked proactively to secure this development to improve the economic, social and environmental conditions of the area.

Subject to compliance with the following conditions:

| 1 | The development hereby permitted shall be carried out in accordance with the following approved plans, drawings and documents: Drawing No. 1 Titled 'Solar Panels' dated January 2026 (West Elevation) received by the Council on 25th February 2026. Drawing No. 2 Roof Plan dated August 2026 received by the Council on 20th August 2026. The following plan, received by the Council on 7th May 2024: Revised Proposed Garage - Floor Plan and Elevations, drawing no. 2338-TYP-GA-29 Revision P3 The following plans, received by the Council on 9 February 2024: Site Location Plan, drawing no. 2338-TYP-LP-01, Revision P1 Site Plan as proposed, drawing no. 2338-TYP-SP-03, Revision P4 Ground Floor plan as proposed, drawing no. 2338-TYP-GA-24 Revision P5 Elevations - Sheet 01 as proposed, drawing no. 2338-TYP-GA-26a Revision P5 (as varied by Drawing 1 above in relation to the West elevation only) Presentation Elevations - Sheet 01 as proposed, drawing no. 2338-TYP-GA-26 Revision P5 Elevations - Sheet 02 as proposed, drawing no. 2338-TYP-GA-27A Revision P5 Presentation Elevations - Sheet 02 as proposed, drawing no. 2338-TYP-GA-27 Revision P5 Roof Plan - Proposed Demolition, drawing no. 2338-TYP-GA-35 Revision P1 Elevations - Sheet 01 - Proposed Demolition, drawing no. 2338-TYP-GA-36 Revision P2 Elevations - Sheet 02 - Proposed Demolition, drawing no. 2338-TYP-GA-27 Revision P1 Ground Floor Plan - Proposed Demolition, drawing no. 2338-TYP-GA-34 Revision P2 Ecological Appraisal July 2021, by All Ecology Ltd Dusk Emergence and Pre-dawn Re-entry Surveys for Bats August 2021, by All Ecology Ltd Reptile Survey August 2021, by All Ecology Ltd REASON: For the avoidance of doubt, for the protection, mitigation and enhancement of biodiversity and in the interests of proper planning. |
| --- | --- |
| 2 | Within three months of this decision, a scheme for the discharge of surface water from the proposed development hereby approved, incorporating sustainable drainage details, shall be submitted to and approved in writing by the Local Planning Authority. The development shall not be first occupied until surface water drainage has been constructed in accordance with the approved scheme. Soakaway design: • It is noted the applicant plans on incorporating a new soakaway design system within the proposed development. The underlying soil is characterised as having ‘impeded drainage’ (derived from the online soil mapper tool LandIS - Land Information System - Soilscapes soil types viewer), therefore the applicant should conduct soakage tests in accordance with BRE 365 to demonstrate that infiltration is feasible. • Following the soakaway tests, the soakaway shall be sized in order to meet the requirements of Building Regulations Part H • Cross sectional drawings of the proposed soakaway should be submitted. If a soakaway is shown to be unfeasible, the applicant shall provide an alternative surface water drainage strategy for approval. REASON: To ensure that the development can be adequately drained. |
| 3 | Notwithstanding the submitted details, the mortar mix for pointing for the stonework of the proposed development hereby approved shall be 3 parts coarse sand and 1 part lime putty. REASON: To protect and enhance the character and setting of the listed building. |

| Informative |  |
| --- | --- |
|  | Any alterations to the approved plans, brought about by compliance with Building Regulations or any other reason must first be agreed in writing with the Local Planning Authority before commencement of work. |
|  | The applicant is requested to note that this permission does not affect any private property rights and therefore does not authorise the carrying out of any work on land outside their control. If such works are required, it will be necessary for the applicant to obtain the landowners consent before such works commence. If you intend carrying out works in the vicinity of the site boundary, you are also advised that it may be expedient to seek your own advice regarding the requirements of the Party Wall Act 1996. |
|  | The applicant is reminded of the need to ensure that careful consideration is given to hours of operation and site noise to ensure that the amenity of neighbouring properties is not affected. |
|  | The applicant is advised that the development hereby approved may represent chargeable development under the Community Infrastructure Levy Regulations 2010 (as amended) and Wiltshire Council's CIL Charging Schedule. If the development is determined to be liable for CIL, a Liability Notice will be issued notifying you of the amount of CIL payment due. If an Additional Information Form has not already been submitted, please submit it now so that we can determine the CIL liability. In addition, you may be able to claim exemption or relief, in which case, please submit the relevant form so that we can determine your eligibility. The CIL Commencement Notice and Assumption of Liability must be submitted to Wiltshire Council prior to commencement of development. Should development commence prior to the CIL Liability Notice being issued by the local planning authority, any CIL exemption or relief will not apply and full payment will be required in full and with immediate effect. Should you require further information or to download the CIL forms please refer to the Council's Website https://www.wiltshire.gov.uk/dmcommunityinfrastructurelevy. |
|  | There is a residual risk that great crested newts / reptiles could occur on the application site. These species are legally protected and planning permission does not provide a defence against prosecution. In order to minimise the risk of these species occurring on the site, the developer is advised to clear vegetation during the winter, remove all waste arising from such clearance and maintain vegetation as short as possible in line with the recommendations made in (Reptile Survey, All Ecology, Aug 2021 and Ecological Appraisal, All Ecology, July 2021). If these species are found during the works, the applicant is advised to stop work and follow advice from an independent ecologist or the Council Landscape and Design Team (ecologyconsultations@wiltshire.gov.uk). |
|  | The applicant is reminded of the need to obtain separate listed building consent for the proposed works in addition to this planning permission for variation of condition granted under Section 73 before commencing any alterations. |

Nic Thomas - Director of Planning, Economy and Climate

| NOTES |  |  |
| --- | --- | --- |
| 1 | Other Necessary Consents. This document only conveys permission for the proposed development under Part III of the Town and Country Planning Act 1990 and the applicant must also comply with all the byelaws, regulations and statutory provisions in force in the area and secure such other approvals and permissions as may be necessary under other parts of the Town and Country Planning Act 1990 or other legislation. |  |
|  | 1.1 | the need in appropriate cases to obtain approval under Building Regulations. (The Building Regulations may be applicable to this proposal. Please contact the Council’s Building Control team before considering work on site); |
|  | 1.2 | the need to obtain an appropriate order if the proposal involves the stopping up or diversion of a public right of way or other highway (including highway verge); |
|  | 1.3 | the need to obtain a separate “Listed Building Consent” to the demolition, alteration or extension of any listed building of architectural or historic interest; |
|  | 1.4 | the need to make any appropriate arrangements under the Highways Act 1980, in respect of any works within the limits of a highway. The address of the Highway Authority is County Hall, Trowbridge, BA14 8JD (It is the responsibility of the applicant to ascertain whether the proposed development affects any listed building or public right of way / other highway, including highway verge). |
| 2 | Appeals. If the applicant is aggrieved by the decision of the local planning authority to grant permission subject to conditions, he may appeal to the Secretary of State for the Environment in accordance with Section 78(1) of the Town and Country Planning Act 1990 within six months of the date of this decision. (Information and forms relating to the appeals process can be found at the Planning Portal - http://www.planningportal.gov.uk/planning/appeals). |  |
| 3 | Climate Change. Wiltshire Council acknowledges the climate emergency and is seeking to make the county carbon neutral. You are encouraged to include energy efficiency that exceeds building regulations and to meet residual energy demand through renewable energy and low-carbon technologies, including high levels of electric vehicle charging points. The developer is encouraged to contact the climate team to discuss this further. climate@wiltshire.gov.uk |  |