|  | Development Services Wiltshire Council Tel: 0300 456 0114 Email:developmentmanagement@wiltshire.gov.uk www.wiltshire.gov.uk |
| --- | --- |

17th September 2026

Dear Sir/Madam

TOWN AND COUNTY PLANNING ACT 1990 (as amended)

APPROVAL OF DETAILS RESERVED BY CONDITION

| Application No: | PL/2026/00718 |
| --- | --- |
| Proposal: | Discharge of condition 26 (Water efficiency scheme) of PL/2023/03573 |
| Site Address: | Northgate Brewery, Northgate Street, Devizes, SN10 1JW |
| On Behalf Of: | Backhouse Housing Limited Ground Floor, Unit B2 Methuen South, Methuen Park, Chippenham, United Kingdom, SN14 0GT |

I refer to your application for the discharge of condition(s) attached to the above planning permission dated 02 February 2026. After careful consideration, the following decision has been made:

Condition(s) submitted for consideration:

Condition 26: No development shall commence above ground floor slab level until a scheme for water efficiency has been submitted to and approved in writing by the Local Planning Authority. The scheme shall be implemented in accordance with the agreed details. REASON: The site is in an area of serious water stress requiring water efficiency opportunities to be maximised, to mitigate the impacts of climate change, in the interests of sustainability and to use natural resources prudently in accordance with the National Planning Policy Framework. Details Submitted for Approval: Energy and Sustainability Statement Revision B by Erban Consulting dated 2nd September 2026. Decision: The details submitted in relation to this condition are approved. Reason for Decision: The Environment Agency was consulted on the originally submitted Energy and Sustainability Statement. That document specified a water consumption rate of 125 litres per person per day, which did not accord with the Environment Agency's requirements. In its consultation response, the Environment Agency advised that the development should achieve a maximum water consumption rate of 110 litres per person per day. The applicant has since submitted a revised Energy and Sustainability Statement which incorporates the changes requested by the Environment Agency and confirms that water efficiency measures will achieve a rate of 110 litres per person per day. As the revised details directly address and satisfy the Environment Agency's previous comments, there has been no requirement to undertake further consultation. Accordingly, the submitted details are considered acceptable, and the requirements of the condition have been satisfactorily met. It is therefore recommended that the condition be discharged.

This letter acts as official confirmation and therefore I suggest that you attach it to the decision notice as evidence that you have complied with the requirements of the relevant condition(s).

Yours faithfully

Head of Development Management

NOTES:

- Approved Conditions:

If the condition(s) have been discharged, you may proceed with the development in accordance with the approved details. Please ensure that the approved documents or plans are implemented on-site and adhered to as part of the development. It is important to comply with all conditions of the planning permission to ensure the development remains lawful.

- Refused Conditions:

If the discharge of the condition(s) has been refused, you may submit revised details or further information to address the issues raised as part of a further discharge of the condition’s application. Please ensure that any resubmission adequately addresses the reasons for refusal. Alternatively, you can appeal the Council’s decision (see below for details).

- Partially Discharged Conditions:

If the condition(s) have been partially discharged, the remaining details that are required must be submitted for further consideration. You should provide the necessary documents in accordance with any timeframe or trigger specified in the condition to allow for the full discharge of the condition(s).

Right of Appeal:

If you are aggrieved by the decision to refuse to discharge a condition or if the condition has only been partially discharged, you have the right to appeal the decision to the Planning Inspectorate.

The appeal must be made within 6 months from the date of this decision notice. If the appeal is submitted after this 6-month period, the Planning Inspectorate will only consider it if there are exceptional circumstances.

The procedure for making an appeal is set out under Section 78 of the Town and Country Planning Act 1990 (as amended), along with the relevant provisions in the Planning and Compulsory Purchase Act 2004. For detailed guidance on how to submit your appeal, please visit the Planning Inspectorate’s website:

https://www.gov.uk/appeal-planning-decision

Please be aware that when appealing against a refusal or failure to discharge a condition, the Planning Inspectorate will only consider whether the submitted details comply with the requirements of the condition and any relevant planning policies. They will not reconsider the original decision to grant planning permission or the reasonableness of imposing the condition itself.